## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD, AEGCL
Name of Work: Turnkey Construction of 132kV N.F. Railway Traction Bay at 132kV Gohpur GSS, AEGCL including Supply of Bay Equipment and line bay materials and associated works etc [ Schedule 1-Supply ]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Circuit Breakers with mounting structures and terminal connectors etc.as applicable as per specification | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 132 kV Gang operated outdoor SF6 Breakers | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | SIEMENS made Control & Relay Panel with Automation (Simplex Type) complete with BCU, ethernet switch and all accessories as required for SAS integration. | Item 3 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder Capable of integration into Existing SAS at Gohpur GSS | Item 4 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Current Transformers (1-phase) with terminal connectors etc. along with marshelling box as per specification | Item 5 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | 132 kV, 400-200/1-1-1-1-1 Line CT | Item 6 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Isolators with insulators, terminal connectors, structures complete etc. as per specification | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 132 kV horizontal centre break isolator With Single Earth Switch (3-phase) | Item 8 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | 132 kV horizontal centre break isolator Without Earth Switch (3-Phase) | Item 9 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Lightning Arrester with terminal connectors etc. as per specification | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | 132 kV Lightning Arrester | Item 11 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Post Insulator with terminal connectors etc. as per specification | Item 12 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | 132 kV Post Insulator | Item 13 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 132 kV CVT with terminal connectors, all necessary accesories etc along with marshelling box as per specfication. | Item 14 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supply of Mounting structures with mounting & foundation bolts as per drawings supplied for | Item 15 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT | Item 16 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch | Item 17 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch | Item 18 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | 132kV Lightning Arrester | Item 19 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Post Insulator | Item 20 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV CVT | Item 21 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply and Design of Bay Steel Structures except equipment mounting structures | Item 22 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | Column | Item 23
9.11 | Column Type 'C1' ( 2 Nos.) [ 2317.41 Kg/ per Column ] | Item 24 | 4634.82 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.2 | Beams | Item 25
9.21 | Beam Type 'B1' ( 2 Nos.) [ 751.77 Kg/ per Beam ] | Item 26 | 1503.54 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supply of Power Cables | Item 27 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.1 | 2C, 6 mm2 | Item 28 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.2 | 4C, 16 mm2 | Item 29 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.3 | 4C, 4 mm2 | Item 30 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply of Control Cables | Item 31
11.1 | 2C, 2.5 mm2 | Item 32 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.2 | 4C, 2.5 mm2 | Item 33 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11.3 | 7C, 1.5 mm2 | Item 34 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.4 | 12C, 1.5 mm2 | Item 35 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.5 | 19C, 1.5 mm2 | Item 36 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supply of ACSR Panther Conductor | Item 37 | 1.5 | Km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Disc Insulator Strings complete with all hardware fittings, clamps etc. | Item 38 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | 10 Disc Tension Insulator String | Item 39 | 12 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | 9 Disc Suspension Insulator String | Item 40 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supply of Earthing System Materials | Item 41 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
14.1 | Main Earth (65 x 12 mm GI Flat) | Item 42 | 450 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.2 | 65x12 GI flat for risers, equipment earthing, column earthing etc. | Item 43 | 150 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.3 | 50x6 GI flat Earthing conductor for earthing of indoor L.T & control panels, Junction box, Marshalling boxes, cable trenches etc. | Item 44 | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.4 | 40 mm Dia. 3mtr long M.S. rod earth electrode (driven) with test link for each tower with earth peak, LAs & CVTs. | Item 45 | 15 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Supply of Bay Marshalling Kiosk along with mounting structure | Item 46 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Clamps and Connectors | Item 47
16.1 | PG Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor | Item 48 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.2 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor | Item 49 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16.3 | Tee Connector Rigid through Type alongwith all hardware fittingsfor 132kV LA and sutiable for ACSR Panther Conductor | Item 50 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16.4 | Tee Connector Rigid through Type alongwith all hardware fittingsfor 132kV CVT and sutiable for ACSR Panther Conductor | Item 51 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Supply of ABT meter as per specification | Item 52 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Mandatory Spares | Item 53 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.1 | For 132 kV SF6 Circuit Breakers | Item 54 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.11 | Interrupter | Item 55 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.12 | Tripping Coil | Item 56 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.13 | Closing Coil | Item 57 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.14 | Circuit Breaker operating mechanism cabinet with all fittings and accessories | Item 58 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.15 | SF6 gas density monitoring device | Item 59 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.16 | Set of all type of gasket used with sealing agent | Item 60 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.17 | Spring Charging Motor | Item 61 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.18 | SF6 gas filled cylinder-12kg | Item 62 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | For Control & Relay panels | Item 63 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.21 | Over current relay | Item 64 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.22 | Earth fault relay | Item 65 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.23 | Distance protection Relay, line length 10.1 KM | Item 66 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.24 | Master Trip Relay | Item 67 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.25 | BCU | Item 68 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.3 | 132kV Lightning Arrester | Item 69 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.4 | 132kV , 400-200/1-1-1-1-1 Line CT | Item 70 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.5 | 132kV, isolator moving and fixed contact | Item 71 | 12 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.6 | Terminal connectors for 132kV CT | Item 72 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.7 | Terminal connectors for 132kV isolator | Item 73 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.8 | Supply of Godrej split 2 Ton , 5star AC | Item 74 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Fire Fighting equipments | Item 75 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
19.1 | 25 Kg Capacity FE DCP type, trolley mounted | Item 76 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.2 | FE CO2 6.5 kg capacity, wall mounted | Item 77 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.3 | Fire Buckets (12 Nos. with stand in one set) | Item 78 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | Supply of 415 V ACDB | Item 79 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
20.1 | Supply of 415 Volt 500 A, 3-ph cubicle indoor floor mounted, auxiliary service board as per specification comprising of LV AC distribution board will have 2-sections , each section will be fed from independent auxiliary transformer(250kVA,33/.415 kV) . Bus Bar rating 600A, 25kA for 1sec, Cu, IP54, 2mm cold rolled/3mm hotrolled and all other fittings and accessories as per specification a) 2 nos incomer feeders with-500A TPN MCCB (Microprocessor Based) b) 2 Nos outgoing feeders with-160A TPN MCCB (Microprocessor Based) c) 1 No outgoing feeders with-100A TPN MCCB (Microprocessor Based) d) 6 Nos outgoing feeders with-63A TPN MCCB e )6 Nos outgoing feeders with-32A TPN MCCB f) 2 Nos outgoing feeders with-16A SP MCCB Each incomer shall be provide with 2 core (for metering and protection) | Item 80 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ2 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD, AEGCL
Name of Work: Turnkey Construction of 132kV N.F. Railway Traction Bay at 132kV Gohpur GSS, AEGCL including Supply of Bay Equipment and line bay materials and associated works etc [ Schedule 2- F&I]
Contract No: Nil
1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Circuit Breakers with mounting structures and terminal connectors etc.as applicable as per specification | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 132 kV Gang operated outdoor SF6 Breakers | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | SIEMENS made Control & Relay Panel with Automation (Simplex Type) complete with BCU, ethernet switch and all accessories as required for SAS integration. | Item 3 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder Capable of integration into Existing SAS at Gohpur GSS | Item 4 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Current Transformers (1-phase) with terminal connectors etc. along with marshelling box as per specification | Item 5 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | 132 kV, 400-200/1-1-1-1-1 Line CT | Item 6 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Isolators with insulators, terminal connectors, structures complete etc. as per specification | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 132 kV horizontal centre break isolator With Single Earth Switch (3-phase) | Item 8 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | 132 kV horizontal centre break isolator Without Earth Switch (3-Phase) | Item 9 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Lightning Arrester with terminal connectors etc. as per specification | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | 132 kV Lightning Arrester | Item 11 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Post Insulator with terminal connectors etc. as per specification | Item 12 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | 132 kV Post Insulator | Item 13 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 132 kV CVT with terminal connectors, all necessary accesories etc along with marshelling box as per specfication. | Item 14 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supply of Mounting structures with mounting & foundation bolts as per drawings supplied for | Item 15 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT | Item 16 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch | Item 17 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch | Item 18 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | 132kV Lightning Arrester | Item 19 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Post Insulator | Item 20 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV CVT | Item 21 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply and Design of Bay Steel Structures except equipment mounting structures | Item 22 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | Column | Item 23
9.11 | Column Type 'C1' ( 2 Nos.) [ 2317.41 Kg/ per Column ] | Item 24 | 4634.82 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.2 | Beams | Item 25
9.21 | Beam Type 'B1' ( 2 Nos.) [ 751.77 Kg/ per Beam ] | Item 26 | 1503.54 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supply of Power Cables | Item 27 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.1 | 2C, 6 mm2 | Item 28 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.2 | 4C, 16 mm2 | Item 29 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.3 | 4C, 4 mm2 | Item 30 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply of Control Cables | Item 31
11.1 | 2C, 2.5 mm2 | Item 32 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.2 | 4C, 2.5 mm2 | Item 33 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11.3 | 7C, 1.5 mm2 | Item 34 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.4 | 12C, 1.5 mm2 | Item 35 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.5 | 19C, 1.5 mm2 | Item 36 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supply of ACSR Panther Conductor | Item 37 | 1.5 | Km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Disc Insulator Strings complete with all hardware fittings, clamps etc. | Item 38 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | 10 Disc Tension Insulator String | Item 39 | 12 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | 9 Disc Suspension Insulator String | Item 40 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supply of Earthing System Materials | Item 41 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
14.1 | Main Earth (65 x 12 mm GI Flat) | Item 42 | 450 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.2 | 65x12 GI flat for risers, equipment earthing, column earthing etc. | Item 43 | 150 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.3 | 50x6 GI flat Earthing conductor for earthing of indoor L.T & control panels, Junction box, Marshalling boxes, cable trenches etc. | Item 44 | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.4 | 40 mm Dia. 3mtr long M.S. rod earth electrode (driven) with test link for each tower with earth peak, LAs & CVTs. | Item 45 | 15 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Supply of Bay Marshalling Kiosk along with mounting structure | Item 46 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Clamps and Connectors | Item 47
16.1 | PG Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor | Item 48 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.2 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor | Item 49 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16.3 | Tee Connector Rigid through Type alongwith all hardware fittingsfor 132kV LA and sutiable for ACSR Panther Conductor | Item 50 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16.4 | Tee Connector Rigid through Type alongwith all hardware fittingsfor 132kV CVT and sutiable for ACSR Panther Conductor | Item 51 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Supply of ABT meter as per specification | Item 52 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Mandatory Spares | Item 53 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.1 | For 132 kV SF6 Circuit Breakers | Item 54 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.11 | Interrupter | Item 55 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.12 | Tripping Coil | Item 56 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.13 | Closing Coil | Item 57 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.14 | Circuit Breaker operating mechanism cabinet with all fittings and accessories | Item 58 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.15 | SF6 gas density monitoring device | Item 59 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.16 | Set of all type of gasket used with sealing agent | Item 60 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.17 | Spring Charging Motor | Item 61 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.18 | SF6 gas filled cylinder-12kg | Item 62 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | For Control & Relay panels | Item 63 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.21 | Over current relay | Item 64 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.22 | Earth fault relay | Item 65 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.23 | Distance protection Relay, line length 10.1 KM | Item 66 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.24 | Master Trip Relay | Item 67 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.25 | BCU | Item 68 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.3 | 132kV Lightning Arrester | Item 69 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.4 | 132kV , 400-200/1-1-1-1-1 Line CT | Item 70 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.5 | 132kV, isolator moving and fixed contact | Item 71 | 12 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.6 | Terminal connectors for 132kV CT | Item 72 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.7 | Terminal connectors for 132kV isolator | Item 73 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.8 | Supply of Godrej split 2 Ton , 5star AC | Item 74 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Fire Fighting equipments | Item 75 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
19.1 | 25 Kg Capacity FE DCP type, trolley mounted | Item 76 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.2 | FE CO2 6.5 kg capacity, wall mounted | Item 77 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.3 | Fire Buckets (12 Nos. with stand in one set) | Item 78 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | Supply of 415 V ACDB | Item 79 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
20.1 | Supply of 415 Volt 500 A, 3-ph cubicle indoor floor mounted, auxiliary service board as per specification comprising of LV AC distribution board will have 2-sections , each section will be fed from independent auxiliary transformer(250kVA,33/.415 kV) . Bus Bar rating 600A, 25kA for 1sec, Cu, IP54, 2mm cold rolled/3mm hotrolled and all other fittings and accessories as per specification a) 2 nos incomer feeders with-500A TPN MCCB (Microprocessor Based) b) 2 Nos outgoing feeders with-160A TPN MCCB (Microprocessor Based) c) 1 No outgoing feeders with-100A TPN MCCB (Microprocessor Based) d) 6 Nos outgoing feeders with-63A TPN MCCB e )6 Nos outgoing feeders with-32A TPN MCCB f) 2 Nos outgoing feeders with-16A SP MCCB Each incomer shall be provide with 2 core (for metering and protection) | Item 80 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ3 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD, AEGCL
Name of Work: Turnkey Construction of 132kV N.F. Railway Traction Bay at 132kV Gohpur GSS, AEGCL including Supply of Bay Equipment and line bay materials and associated works etc [ Schedule 3- Erection, Tesitng AND Commissioning.i.e ETC ]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit ETC Rate (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL ETC (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Erection, testing & commissioning of Circuit Breakers including laying & terminating of LT power and control cables as required | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 132 kV Gang operated SF6 Breakers | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Erection, testing & commissioning of Control & Relay Panels including laying & terminating of LT power and control cables as required | Item 3 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder compatible with existing SAS (SIEMENS) at Gohpur GSS | Item 4 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Erection, testing & commissioning of Current transformers including laying & terminating of control cables alongwith all necessary accessories as required | Item 5 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | 132 kV, 400-200/1-1-1-1-1 Line CT | Item 6 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Erection, testing & commissioning of Isolators including laying & terminating of LT power and control cables as required | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 132 kV With Single Earth Switch | Item 8 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | 132 kV Without Earth Switch | Item 9 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Erection, testing & commissioning of Lightning Arrester including including laying & terminating of control cables as required | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | 132 kV Lightning Arrester | Item 11 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Erection, testing & commissioning of Post Insulator including including laying & terminating of control cables as required | Item 12 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | 132 kV Post Insulator | Item 13 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Erection, testing & commissioning of CVT including including laying & terminating of control cables alongwith all necessary accessories as required | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | 132kV CVT | Item 15 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Erection of Mounting structures for different terminal equipments as required for | Item 16 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT | Item 17 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch | Item 18 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch | Item 19 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | 132kV Lightning Arrester | Item 20 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Post Insulator | Item 21 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV CVT | Item 22 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Erection of Switchyard Lattice Steel Columns | Item 23 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | Column Type 'C1' ( 2 Nos.) [ 2317.41 Kg/ per Column ] | Item 24 | 4634.82 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Erection of Switchyard Lattice Steel Beams | Item 25 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.1 | Beam Type 'B1' ( 2 Nos) [ 751.77 Kg/ per Beam ] | Item 26 | 1503.54 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Integration of Control Relay Panel into the existing Substation Automation System (SAS) of SIEMENS made at Gohpur GSS. | Item 27 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing 80 mm thick 1:4:8 PCC base of switchyard as per specification & drawings including supply of all materials. | Item 28 | 280 | sq. m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Providing 100 mm thick graveling of switchyard as per specification & drawings including supply of all materials. | Item 29 | 280 | sq. m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Installation of earthing system with GI flats, electrodes etc. For present scope of area. | Item 30 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Construction of Cable Trenches including supply of all materials and labour as per specification and drawing | Item 31 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
15.1 | D Type Trench | Item 32 | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.2 | C Type Trench | Item 33 | 55 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Illumination | Item 34
16.1 | Design and installation of outdoor illumination system for the 132kV bay area (consisting of minimum 10 Nos. of LED lamps with fittings etc.) as per specification including supply of all materials. | Item 35 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | Erection of Bay Marshalling Kiosk as per drawings and specifications including construction of foundation inclusive of supply of all foundation Materials and Labour as directed. | Item 36 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Erection, testing and Commissssioning of ABT Meter as per specification | Item 37 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Construction of KIOSK building & related services | Item 38 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.1 | Construction of KIOSK Type-B building with all required services (4.00 x 5.50 m) with supply of all materials equipments as per drawing & specification. | Item 39 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | Erection, testing & commissioning of 415 V ACDB | Item 40
20.1 | Erection, testing & commissioning of 415 Volt ACDB | Item 41 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | Installation of AC | Item 42 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21.1 | AC Installation Charge | Item 43 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ4 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD, AEGCL
Name of Work: Turnkey Construction of 132kV N.F. Railway Traction Bay at 132kV Gohpur GSS, AEGCL including Supply of Bay Equipment and line bay materials and associated works etc [ Schedule 4- Foundation ]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL Amount (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV Circuit Breaker (1 Set) | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Excavation (35.63 Cum per breaker) | Item 2 | 35.63 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | Filling (4.95 Cum per breaker) | Item 3 | 4.95 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.3 | Brick Soiling ( 9.9 Sq.m per breaker) | Item 4 | 9.9 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.4 | Formwork (13.35 Sq.m per breaker) | Item 5 | 13.35 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.5 | PCC (0.51 Cum per breaker) | Item 6 | 0.52 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.6 | RCC (2.37 Cum per breaker) | Item 7 | 2.37 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.7 | Reinforcement (145.49 Kg per breaker) | Item 8 | 145.5 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV Current Transformer ( 3 Nos.) | Item 9 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | Excavation (8.1 Cum per CT) | Item 10 | 24.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | Filling (1.125 Cum per CT) | Item 11 | 3.38 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.3 | Brick Soiling (1.32 Sq.m per CT) | Item 12 | 3.96 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | Formwork (6.45 Sq.m per CT) | Item 13 | 19.35 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | PCC (0.99 Cum per CT) | Item 14 | 2.97 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.6 | RCC (0.48 Cum per CT) | Item 15 | 1.44 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.7 | Reinforcement (68.54 Kg per CT) | Item 16 | 205.62 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV CVT (3 Nos.) | Item 17 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | Excavation (8.1 Cum per CVT) | Item 18 | 24.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | Filling (1.125 Cum per CVT) | Item 19 | 3.38 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.3 | Brick Soiling (1.32 Sq.m per CVT) | Item 20 | 3.96 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.4 | Formwork (6.45 Sq.m per CVT) | Item 21 | 19.35 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.5 | PCC (0.99 Cum per CVT) | Item 22 | 2.97 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.6 | RCC (0.48 Cum per CVT) | Item 23 | 1.44 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.7 | Reinforcement (68.54 Kg per CVT) | Item 24 | 205.62 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV Isolators With/ Without Earth Switch/( 2 Sets) | Item 25 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | Excavation (35.63 Cum per Isolator) | Item 26 | 71.26 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Filling (4.95 Cum per Isolator) | Item 27 | 9.9 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | Brick Soiling ( 9.9 Sq.m per Isolator) | Item 28 | 19.8 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.4 | Formwork (13.35 Sq.m per Isolator) | Item 29 | 26.7 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.5 | PCC (0.51 Cum per Isolator) | Item 30 | 1.02 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.6 | RCC (2.37 Cum per Isolator) | Item 31 | 4.73 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.7 | Reinforcement (145.49 Kg per Isolator) | Item 32 | 290.98 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV Lightning Arresters( 3 Nos) | Item 33 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | Excavation (6.56 Cum per LA) | Item 34 | 19.7 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | Filling (0.911 Cum per LA) | Item 35 | 2.73 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.3 | Brick Soiling (1 Sq.m per LA) | Item 36 | 3 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.4 | Formwork (7.48 Sq.m per LA) | Item 37 | 22.44 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.5 | PCC (0.08 Cum per LA) | Item 38 | 0.24 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.6 | RCC (0.95 Cum per LA) | Item 39 | 2.84 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.7 | Reinforcement (65.8 Kg per LA) | Item 40 | 197.4 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for 132kV Post Insulator ( 10 Nos) | Item 41 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | Excavation (6.56 Cum per PI) | Item 42 | 65.6 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.2 | Filling (0.911 Cum per PI) | Item 43 | 9.11 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.3 | Brick Soiling (1 Sq.m per PI) | Item 44 | 10 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.4 | Formwork (7.48 Sq.m per PI) | Item 45 | 74.8 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.5 | PCC (0.08 Cum per PI) | Item 46 | 0.75 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.6 | RCC (0.95 Cum per PI) | Item 47 | 9.5 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.7 | Reinforcement (65.8 Kg per PI) | Item 48 | 658 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Construction of Foundation Including. Supply of All Foundation Materials & Labour as required for Lattice Steel Column ( for 132kV Gantry Columns Type (C1), 2 Nos.) | Item 49
7.1 | Excavation (149.00 Cum per Column) | Item 50 | 298 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.2 | Filling (33.00 Cum per Column) | Item 51 | 66 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.3 | Formwork (14.19 Sq.m per Column) | Item 52 | 28.3 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.4 | PCC ( 2.44 Cum per Column) | Item 53 | 4.88 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.5 | RCC (8.3.Cum per Column) | Item 54 | 16.6 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.6 | Brick Soiling (24.44 Sq.m per Column) | Item 55 | 48.88 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.7 | Reinforcement (668.2 Kg per Column) | Item 56 | 1336.4 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information