ASSAM ELECTRICITY GRID CORPORATION LIMITED

Regd. Office : 1st floor, Bijulee Bhawan, Paltanbazar, Guwahati-781001

CIN: U40101AS2003SGC007238

Phone: 0361-2739520/Fax : 0361-2739513 web: www.aegcl.co.in

Bid Identification No: AEGCL/DGM/CATCC/SMG/BID-09/2026/09;   Dated:07/01/2026

Bidding Document for

Procurement of 01 (one) no. of Winding Resistance Meter Kit

for O/o the AGM,

T&C Division, AEGCL, Samaguri

DEPUTY GENERAL MANAGER

AEGCL, CA T&C AND COMM CIRCLE

SAMAGURI

Tender Cost : Rs. 1,000.00

EMD : Rs. 38,000.00

INDEX

- Notice Inviting Tender	3

- Information for Bidders	4

- Eligibility Criteria and Basis Qualifying Requirements	8

- Technical Specification	15

- BOQ and Price Bidding Schedule (Annexure and Proforma)	19

# INFORMATION FOR BIDDERS

- Introduction of the Tender Enquiry:

Bids are invited from experienced, financially sound, and reputed firms for procurement of 1(One) no. of Transformer Winding Resistance Meter kit for O/o the AGM, T&C Division, AEGCL, Samaguri-782140.

- Name of work: Supply of 1 (One) no. of Transformer Winding Resistance Meter kit for T&C  Division, AEGCL, Samaguri as per the technical specifications mentioned in the bid document.

- Estimated value of the work: ₹18,64,400.00 (Rupees Eighteen Lakh Sixty-Four Thousand Four Hundred) only inclusive of GST and all necessary taxes as applicable as per prevailing rate.

- Bidding Address:

Tender papers can also be purchased on application in plain paper from the Deputy General Manager, CA T&C & Comm Circle, AEGCL, Samaguri.

- Scope of Work:

- Supply and Delivery of 1(One) no. of transformer Winding Resistance Meter kit conforming to relevant IS/IEC/EU and its latest amendments and in strict adherence to the terms and conditions of this bid at T&C Division, AEGCL, Samaguri.

- All necessary transportation from the factory to the consignee within the stipulated time without any extra cost to the purchaser.

- Freight and Transit insurance shall be in the scope of the contractor.

- The Consignee for the above supply work is

The AGM, T&C Division, AEGCL, Samaguri-782140

- Submission of Bid:

The bid shall be in two parts, i.e. (i) Techno commercial bid, (ii) Price bid.

- Techno-commercial Bid

In the techno commercial bid, the bidders are required to submit copies of (i) Documentation fees (ii) Earnest money deposit (MSMEs are exempted) (iii) PAN, (iv) GST registration, (v) Annual Turn Over Certificate (Rs 16 Lakh average for last 3 years), (vi) Order executing details of similar work, (vii) Guaranteed technical particulars Compliance Sheet, (viii) Authorization from OEM, (ix) Performance Certificate, (x) IT returns for last 3 years, (xi) Power of Attorney, (xii) Bank Solvency,

(xiii) P&L statements for last 3 years, (xiv) Audited Balance Sheet for last 3 years.

A set of the above documents must be submitted for techno-commercial evaluation failing which it will be treated as non-responsive. The bidder must pay tender document cost of Rs. 1000.00(Rupees One thousand) only pledged in favour of the MD, AEGCL, Bijulee Bhawan, Paltan Bazar, Guwahati-1 in the form of Demand Draft payable at Guwahati.

Techno-commercial bids shall be summarily rejected if tender document cost and Earnest Money Deposit are not submitted in hard copy by the deadline for technical bid submission.

- Price Bid

The Price Bid shall be the offer price for supply (on FOR basis) and inclusive of all cost. Submission of Price Bid Schedule with all quantities and prices shall be filled up as per annexure provided in the detail bid document. All quoted rate should be inclusive of GST and all necessary taxes as applicable as per prevailing rate.

Note:

- In case of any difference found between the rates in figures and in words, minimum of the two will be considered. If the bidder does not accept the correction of the errors as above, his bid shall be rejected and the amount of bid guarantee/security will be forfeited.

- The rates quoted shall be inclusive of all necessary taxes, duties, freight, and insurance etc.

- No separate declaration offering discount on price will be allowed. Offered price in the price schedule will be considered final for evaluation.

In the event of any bidder found to be involved in corrupt or fraudulent practices in competing for the bid, AEGCL shall reject the proposal. Even if any such thing is detected after award of contract, the contract will be cancelled forthwith without any notice and the PBG shall be invoked. Moreover, AEGCL shall declare the firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for this bid, or in executing the contract.

- Bidders shall submit their most competitive rates. It may please be noted that incomplete tenders shall not be accepted.

- The Techno commercial bid shall be opened on the due date and due time (or on the next working day, in case of holiday) in presence of the bidders or their authorized representatives without delay. Price bids of technically approved bidders will be opened on a separate date after due intimation.

- Post revision of quoted rates, terms and conditions having direct or indirect impact on the quoted rates shall not be accepted and the offer would be rejected and earnest money shall be forfeited. Withdrawal of offer within the quoted validity period shall not be accepted and in that case earnest money shall be forfeited. Employer reserves the right for negotiation of rates, terms and conditions only.

- Important Timeline:

|  | Sl. No. | Description | Date and Time |
| --- | --- | --- | --- |
|  | 1. | Tender Document Publishing Date | 11:00 hrs of 07-01-2026 |
|  | 2. | Bid Submission Start Date and Time | 12:00 hrs of 07-01-2026 |
|  | 3. | Bid Submission End Date and Time | 12;00 hrs of 31-01-2026 |
|  | 4. | Technical Bid Opening date and Time | 14:00 hrs of 04-02-2026 |

- Any query may be submitted to the below address prior to 7 days from the Bid submission end date

The Deputy General Manager (CA T&C and Comm. Circle) AEGCL, Samaguri-782140

Email – dgmtcc.ca@aegcl.co.in

- Earnest Money Deposit:

The Earnest money for an amount Rs 38,000.00 (Rupees Thirty Eight Thousand only) which is approximately 2% (Two Percent) of the estimated value shall be submitted in the form of Demand Draft along with the Techno Commercial bid. Any tender without earnest money in the form mentioned above, shall be rejected outright. The EMD shall be returned to the bidder(s) whose offer is not accepted within one month from the date of LoA (s) to the selected bidder(s). The EMD to the successful bidder shall be released on submission of Performance Bank Guarantee at the time of execution of the agreement. However, if the return of EMD is delayed for any reason, no interest / penalty shall be payable to the bidder. EMD submission is exempted for bidders having MSME Certificate and for exemption MSME certificate to be submitted.

- Performance Guarantee:

The successful bidder shall have to deposit performance security in the form of performance Bank Guarantee (PBG) from a scheduled commercial bank of RBI pledged in favour of Assam Electricity Grid Corporation Limited as per prescribed proforma for an amount equivalent to 10% (ten percent) of the awarded value. The PBG shall be furnished to the DGM, CA T&C and Comm. Circle, AEGCL, Samaguri as per prescribed format of AEGCL along with acceptance of Letter of Intent (LOI). The validity of the PBG shall be for a period of 12 (Twelve) months beyond the scheduled date of completion of supply and commissioning as per work order with additional one month claim period. If the successful bidder fails or neglect to perform any of his obligations under the contract, the AEGCL shall have the right to forfeit in full or in part thereof at its absolute discretion the performance security deposit furnished by the supplier. No interest shall be payable on such deposits.

- Eligibility Criteria and Basic Qualifying Requirements:

  - Technical:

    - Bidder may be Original Equipment Manufacturer (OEM) of the offered products or a firm/company having authorization from a manufacturer (OEM). In case the bidder is not a manufacturer (OEM) of the offered products, bidder must submit manufacturer’s authorization using for that purpose Form-MA provided in Annexure-I.

    - The Original Equipment Manufacturer (OEM) of the test kit must have experience of successfully supplying at least 1(One) number of Transformer winding resistance meter kit or Similar Testing kit in last 5(Five) years to different State Govt. Transmission Utility/Central Govt. Transmission Utility/PSUs/Govt. Laboratory/ Reputed Private utilities. The bidder must submit documentary evidence for such experience along with the technical bid submission.

    - Bidder shall submit valid performance certificates from different State Govt. Transmission Utility/Central Govt. Transmission Utility/PSUs/Govt. Laboratory/ Reputed Private utilities for the offered product for satisfactory operation of 3 years.

    - The performance and completion certificates shall be not be older than 5 years on the date of opening of the technical bid.

    - The OEM must have service center present in India. The bidder must submit the details of such service center along with bid Documents.

    - Bidders who will supply the equipment in confirmatory with the technical specification only will be treated as responsive bidder.

    - The bidder shall have to demonstrate the performance of the offered item to the owner. Offered equipment that fails to meet the requirements of the bidding document to the satisfaction of the AEGCL engineers present during demonstration shall not be accepted.

    - The Bidder must submit Calibration Test Certificate along with the supply of Test Kit. Date of Calibration should not be older than two months from the date of supply of Kit.

    - Factory test certificate(s)/ report(s) for transformer oil tan delta and resistivity kit is to be submitted along with the supply of the same.

  - Financial:

    - The Minimum Average Annual Turnover (MAAT) of the bidder for the last 3 (three) financial years shall be at least ₹ 16,00,000.00 (Rupees Sixteen Lakh) only. The bidder has to submit reports on the financial standing of the Bidder, such as profit and loss statements and audited annual accounts certified by CA of the company including IT return duly acknowledged by the tax department for the last 3(three) years.

    - The bidder shall furnish GST registration certificate, Trade license, Employee Provident fund etc. (wherever applicable).

    - Bidder must keep GST liabilities up to date and must submit the up-to-date GST return acknowledgement.

    - Evidence of adequacy of working capital for this contract (access to line (s) of credit and availability of other financial resources).

    - The bidder shall furnish copy of their PAN Card. The PAN card must be in the name of the firm/proprietor.

    - Formal authority, Registered/Notarized for signing the tender or other documents on behalf of the firm / individual shall be submitted along with the bid. In case of registered company Board’s resolution of the company for authorized signatory should be furnished.

    - Power of attorney should be a registered/ notarized one.

    - Information regarding any litigation or blacklisted, current or during the last five years, in which the Bidder is involved, the parties concerned, and disputed amount.

    - Notwithstanding anything stated herein above, AEGCL reserves the right to assess the capacity and capability of the bidder to execute the work, should be circumstance warrant such assessment in the overall interest of AEGCL.

|  | 11.3 Work Experience: |
| --- | --- |
|  | - The Bidder should have successfully completed similar works within last 5 (Five) Financial years. Documentary evidence such as Work Order, Completion Certificate, etc. should be submitted as per below mentioned criteria: - Three (3) similar completed works costing not less than Rs.7,45,760.00 - Two (2) similar completed works costing not less than Rs. 9,32,200.00 - One (1) similar completed works costing not less than Rs. 14,91,520.00 |
|  | - The Bidder must have experience of executing work of similar nature previously. The bidder must submit experience and completion certificate for scrutiny by AEGCL. |
|  | 12. Evaluation Criteria: |
|  | 12.1 Evaluation will be done on the basis of Bid Clause No. 8.0 : Eligible Bidders, Cl. No. 9.0 : Financial Capability, Cl. No. 10.0 : Work Experience and in accordance with the Annexure I to be duly filled in, signed and submitted by the bidder. |
|  | 12.2 Price Bid of only Responsive and Qualified Techno-Commercial Bidders will be opened. 12.3 Price Bid Envelope of the Non-responsive Techno Commercial Bidders will be returned to the respective bidders against submission of a written request by the bidder. 13. Correction of Errors in the Price Bid: |
|  | 13.1 Arithmetical Error, if observed while in Price Bid evaluation, same will only be corrected as deemed fit by AEGCL officials. 13.2 Arithmetic Errors in the Price Bid will be rectified on the following basis: - If there is a discrepancy between the unit rate and the total cost that is obtained by multiplying the unit rate and quantity, the unit rate shall prevail and the total cost will be corrected unless in the opinion of AEGCL there is an obvious misplacement of the decimal point in the unit rate, in which case the total cost as quoted will govern and the unit rate corrected. If there is a discrepancy between the total bid amount and the sum of total costs, the sum of total costs shall prevail and the total bid amount will be corrected. - The amount stated in the Price Bid will be adjusted by AEGCL in accordance with the above procedure for the correctness of errors and shall be considered as binding upon the bidder. If the bidder does not accept the corrected amount of bid, its bid will be rejected, and the bid security may be forfeited. |
|  | 13.3 Any post bid correction request will NOT BE ENTERTAINED. 14. Bid Evaluation Process for Abnormally Low Bids (ALB): |
|  | The following methodology will be practiced for identification and treatment of the Abnormally Low Bids (ALB) in this tender process of AEGCL: - Identification: For the Identification of the Abnormally Low Bids, two approaches as applicable shall be adopted :- (i) Absolute Approach: When there are fewer than five substantially responsive bidders and if the bid price is 20% or more below the AEGCL’s cost estimate then AEGCL’s tender evaluation committee should clarify the Bid price with the bidder to determine whether the Bid is Abnormally low. (ii) Relative approach:-When there are at least 5(five) nos. of substantially responsive bids and the lowest bid price is 20% or more below AEGCL’s cost estimate. In this approach, first the Average bid price is determined and then by deducting the standard deviation from the Average bid price, potentially ALB may be determined. In this approach first the Average Bid Price is determined and then by deducting the standard deviation from the average bid price, potentially ALB may be determined (b) In case of an ALB, the tender evaluation committee of the respective tenders shall undertake the following three stage review process which are as below: - Identify ALB as per the steps mentioned in Clause No. (a). (i) and (a). (ii), whichever is applicable. - To seek and analyses the clarifications from the abnormally low Bidder in terms of resource inputs and pricing, including overheads, contingencies and profit margins. In that respect, the committee may refer to guideline of World Bank, AIIB, ADB etc. prescribed for ALB. - To decide whether to accept or reject the bid. (c) Additional Performance Security In case of acceptance of ALB: - If any abnormally low bid is accepted with additional performance security, it is to be noted that the total performance security should not exceed 20% of the total contract value. - The additional performance security shall be treated as part of the original performance security and shall be valid for a period similar to that applicable for defect liability period of the contract. - Non submission of the additional performance security shall constitute sufficient ground for rejection of the bid and similar assessment shall then be initiated for next ranked bidder if that bidder is also identified as ALB. |
|  | 15. Late Bid: |
|  | 15.1 Any bid submitted after the due date and time will be rejected without any prejudice. |
|  | 15.2 AEGCL will not be responsible for any Postal and/or Courier Delay in delivering the bid. The same received after the scheduled closing date and time will be rejected without any prejudice. |
|  | 15.3 Bidding through EMAIL WILL NOT BE ACCEPTED. 16. Technical Requirements: 16.1 Intent of specification: This section of the specification deals with the technical information & criteria for “Procurement of 01 (one) NO. OF WINDING RESISTANCE METER KIT for O/o the AGM, T&C Division, AEGCL,Samguri”. The Contractor's proposal shall be based on the use of materials complying fully with the requirements specified herein. 16.2 Supplier to Inform himself fully:- - The supplier should ensure that he has examined the specifications and schedules as brought out in this section as well as other sections of the Bidding Document and has satisfied himself as to all the conditions and circumstances affecting the contract price and fixed his price according to his own views on these matters and acknowledge that no additional allowances except as otherwise provided therein will be levied. - The Purchaser shall not be responsible for any misunderstanding or incorrect information obtained by the contractor other than information given in writing by the Purchaser. 16.3 Conformity with Indian Electricity Rules & Other Local Regulations:- - The Supplier shall note that all substation works shall comply with the latest provisions of Indian Electricity Rules and with any other regulations. Local authorities concerned in the administration of the rules and regulations relating to such works shall be consulted, if necessary, about the rules and regulations that may be applicable. - All registration and statutory inspection fees, if any, in respect of his work pursuant to this Contract shall be to the account of the contractor. 16.4 Standards:- - The equipment covered under this Bidding Document shall, unless otherwise stated be designed, constructed and tested in accordance with the latest revisions of relevant Indian Standards and shall conform to the regulations of local statutory authorities. - In case of any conflict between the standards and this specification, this specification shall govern. - Equipment conforming to other International or authoritative Standards which ensure equivalent or better performance than that specified above shall be accepted. In that case relevant extracts of the same shall be forwarded with the bid. 16.5 Engineering Data:- - The furnishing of engineering data by the supplier shall be in accordance with the Bidding Document. The review of these data by the Purchaser will cover only general conformance of the data to the specifications and not a thorough review of all dimensions, quantities and details of the materials, or items indicated or the accuracy of the information submitted. This review by the Purchaser shall not be considered by the supplier as limiting any of his responsibilities and liabilities for mistakes and deviations from the requirements, specified under these specifications. - All engineering data submitted by the supplier after review by the Purchaser shall or part of the contract document. 16.6 Manuals:- - All Manuals of the equipment should be provided to AEGCL. 16.7 Employer’s Supervision:- - The scope of the duties of the Employer, pursuant to the contract, will include but not be limited to the following. - Inspect, accept or reject any equipment, material and work under the Contract, in accordance with the Specifications. - Issue certificate of acceptance and/or progressive payment and final payment certificate. 16.8 Packing: - All the materials shall be suitably protected, coated, covered or boxed and crated to prevent damage or deterioration during transit, handling and storage at Site till the time of erection. - The Supplier shall be responsible for any loss or damage during transportation, handling and storage due to improper packing. - The Supplier shall include and provide for securely protecting and packing the materials so as to avoid loss or damage during transport by air, sea, rail and road. - All packing shall allow for easy removal and checking at site. Wherever necessary, proper arrangement for attaching slings for lifting shall be provided. All packages shall be clearly marked for with signs showing 'up' and 'down' on the sides of boxes, and handling and unpacking instructions as considered necessary. Special precaution shall be taken to prevent rusting of steel and iron parts during transit by sea. - The cases containing easily damageable material shall be very carefully packed and marked with appropriate caution symbols, i.e., fragile, handle with care, use no hook etc. wherever applicable. - Each package shall be legibly marked by the-Supplier at his expenses showing the details such as description and quantity of contents, the name of the consignee and address, the gross and net weights of the package, the name of the Supplier etc. 16.9 Materials Handling and Storage:- - All the supplies under the Contract as well as Employer supplied items (if any) arriving at site shall be received during office hours. - Contractor shall be responsible for examining all the shipment and notify the Employer immediately of any damage, shortage, discrepancy etc. for the purpose of Employer's information only However, the Contractor shall be solely responsible for any shortages or damages in transit, handling and/or in storage and erection at site. Any demurrage, and other such charges claimed by the transporters, railways etc., shall be to the account of the Contractor. - Item shall be handled very carefully to prevent any damage or loss. |

17.       Bid Capacity:     The Bidders who meet the minimum qualification criteria mentioned against Clause No.9.1. AEGCL reserves the right to carry out the Bid Capacity assessment of the Bidders and the owner’s decision shall be final and binding to the bidder.

18.    The Bidder’s offer shall include and substantiate its claimed data on qualifying requirements   by uploading scanned original copies of valid supporting documents such as detailed below:

- Original documents defining the constitution or legal status, place of registration, and principal place of business, written power of attorney of the signatory of the Bid to commit the Bidder.

- The Bid Should be valid for at least 180 days.

- Copy of the list of work orders completed/under implementation by the bidder in last 5 years need to be submitted along with necessary proof of execution and completion of the works.

19.       ISO Certification: The bidders manufacturing facilities preferably must have ISO certification with latest  update. Documentary evidence to this effect must be submitted with this bid. Any other certification with the bidder shall also be furnished.

20.      Litigation history:

Bidders shall submit details of all the litigation, arbitration or other claims, whether pending, threatened, or resolved in the last five years, with the exception of immaterial claims with a cumulative impact of not more than 10 per cent of their total assets. The Employer may disqualify bidders in the event that the total amounts of pending or threatened litigation, arbitration or other claims represent more than 50 per cent of their total assets.

The bidder should not be blacklisted by any utility in India. A declaration is to be submitted by the bidder.

21.    Even though the bidders meet the above qualifying criteria, they are subject to be disqualified if   they have:

- Made misleading or false representations in the forms, statements and enclosures submitted as a proof of the qualification requirements; and/or

- Record of poor performance such as abandoning the work, rescinding of contract for which the reasons are attributable to the non-performance of the contractor, consistent history of litigation awarded against the Applicant or financial failure due to bankruptcy.

- Notwithstanding anything stated herein under, the purchaser reserves the right to assess the capacity and capability of the bidder to execute the work, should the circumstances warrant such assessment in the overall interest of the purchaser.

22.      Evaluation and Award of Work:

- The evaluation of bids will be carried out, first of techno-commercial bid thereafter opening the price bid of only those bidders who qualify and meet the technical requirements of the equipment to the satisfaction of AEGCL Engineers.

- In comparing bids and making awards, the employer will consider such factors as compliance with specifications, relative quality and adaptability of suppliers, the technology and process involved in production experience, financial soundness, records of integrity in dealing ability to furnish repair and maintenance services.

- AEGCL reserves the right not to order/ award the job to the price-wise lowest party if the party during any part of evaluation is found technically or price wise non responsive.

- AEGCL reserves the right to reject any / all bids without assigning any reasons thereof, the right to accept any bid or part of which is advantageous to AEGCL and to award the contract in single or phased manner to one party or split up amongst different bidders.

- Information relating to the examination, clarification, evaluation and the comparison of the bids and recommendation for award of contract shall not be disclosed to the bidders or any person not officially concerned with such process concerned with such process until the award to the successful bidder has been announced. Any effort by a bidder to influence AEGCL’s processing of bids or award decision may result in the rejection of the bid.

23.      Termination of Work Order:

Company reserves the right to terminate the work order at any stage in accordance with the Company’s General Condition of Supply and Erection in force.

24.      Period of completion:

90 days (Ninety days) from the date of issue of work order/LoA

24.1	All payment shall be made from the office of the DGM, CA T&C and Comm. Circle, AEGCL, Samaguri. The bills after due verification and passing by the concerned consignee should be placed to the DGM, CA T&C and Comm. Circle, AEGCL, Samaguri for payment. All billing transactions must be in strict adherence with AEGCL payments terms and clause. Bank Guarantees (BG) submitted along with the bid or to be submitted should be from any branch of nationalized or scheduled Bank of RBI located in Assam. In case of Bidder fails to submit Performance Bank Guarantee, AEGCL shall have the right to forfeit in full or in part thereof at its absolute discretion the performance security deposit furnished by the supplier, if the successful bidder fails or neglect to perform any of his obligations/duties mentioned in scope of work.

24.2        Payment shall be released subject to the following conditions:

(a) Work should be strictly conforming to scope mentioned in the Bid.

(b)Proper submission of triplicate documents/bills duly verified by O/o the AGM, T&C Division,    AEGCL, Samaguri along with all relevant documents viz., Goods Receipt Note (GRN) issued by the consignee, Delivery Challan, Warranty certificate/Undertaking/ Test reports, Bill Passing Journal Voucher, etc. complete in every aspect in strict adherence to transactions in AEGCL system.

(c)The supplier should intimate the undersigned the dispatch of every consignment along with supporting documents for our record.

- Guarantees and Penalties:

- Liquidated Damages (LD): The proposed scope of work is to be completed within stipulated/agreed schedule. Any delay beyond that will attract penalty as per AEGCL’s General condition of supply and erection.

- Warranty from the manufacturer shall be produced along with manufacturer’s test certificate for equipment/ materials covered under Manufacturer’s warranty.

- The supplied equipment shall be guaranteed for a period of 12 (Twelve) months from the date of successful receipt at site. In case of detection of any defect in the equipment, the same shall be replaced by the bidder free of cost within 15 days of intimation by the company’s representative.

26.         Termination of Contract on Contractor’s Default:

If the Supplier neglect to execute the Works with due diligence and expertise or shall refuse or neglect to comply with any reasonable order given to him, in the Contract by the Purchaser in connection with the works or shall contravene the provisions of the Contract, the owner may give notice in writing to the supplier to make good the failure, neglect or contravention complained of. Should the supplier fail to comply with the notice within thirty (30) days from the date of serving the notice, then and in such case the Owner shall be at liberty to employ other workmen and forthwith execute such part of the works as the supplier, may have neglected to do or if the owner shall think fit, without prejudice to any other right he may have under the Contract to take the work wholly or in part out of the supplier 's hands and re- contract with any other person or persons to complete the works or any part thereof the Owner shall be entitled to retain and apply any balance which may otherwise be due on the Contract by him to the contractor, or such part thereof as may be necessary, to the payment of the cost of executing the said part of the work or of completing the Works as the case may be. If the cost of completing of Works or executing a part thereof as aforesaid shall exceed the balance due to the contractor, the contractor shall pay such excess. Such payment of excess amount shall be independent of the liquidated damages for delay which the contractor shall have to pay if the completion of works’ is delayed.

In addition, such action by the Owner as aforesaid shall not relieve the Contractor of his liability to pay liquidated damages for delay in completion of works as defined in clause no.26 of GCSE.

Such action by the Owner as aforesaid, the termination of the Contract under this clause shall neither entitle the contractor to reduce the value of the contract Performance Guarantee nor the time thereof. The contract Performance Guarantee shall be valid for the full value and for the full period of the contract including guarantee period.

27.     Termination of Contract on Owners’ Default:

The Owner reserves the right to terminate the Contract either in part or in full due to reasons other than those mentioned under clause entitled "Contractor's Default." The Owner shall in such an event give fifteen (15) days’ notice in writing to the Contractor of his decision to do so.

The Contractor upon receipt of such notice shall discontinue the work on the date and to the extent specified in the notice, make all reasonable efforts to obtain cancellation of all orders and contracts to the extent they are related to the work terminated and terms satisfactory to the Owner, stop all further sub- contracting or purchasing activity related to the work terminated, and assist the Owner in maintenance, protection, and disposition of the Works acquired under the Contract by the Owner.

In the event of such a termination, the Contractor shall be paid compensation, equitable and reasonable, dictated by the circumstances prevalent at the time of termination.

If the Contractor is an individual or a proprietary concern and the individual or the proprietor dies the Owner is satisfied that the legal representatives of the individual contractor or of the proprietor of propriety concern and in the case of partnership, the surviving partners, are capable of carrying out and completing the Contract, the Owner shall be entitled to cancel the Contract as to its uncompleted part without being in any way liable to payment of any compensation to the estate of deceased Contractor and/or to surviving partners of the contractor's firm on account of the cancellation of the contract. The decision of the owner that the legal representatives of the deceased contractor or surviving partners of the contractor's firm cannot carry out and complete the contract shall be final and binding on the parties. In the event of such cancellation, the Owner shall not hold the estate of the deceased Contractor and/or the surviving partner of the Contractor's firm liable to damages for not completing the Contract.

- Frustration of Contract:

In the event of frustration of the contract of supervening impossibility in items of Section 56 of the Indian Contract Act, parties shall be absolved of their responsibility to perform the balance portion of the contract.

In the event of non-availability or suspension of funds for any reasons whatsoever (except for reason of willful or flagrant breach by the Owner and/or contractor) then the Works under the contract shall be suspended. Furthermore, if the Owner is unable to make satisfactory alternative arrangements for financing to the contractor in accordance with the terms of the Contract within three months of the event, the parties hereto shall be relieved from carrying out further obligations under the Contract treating it as frustration of the Contract. In the event Performance Bank Guarantee, the parties shall mutually discuss to arrive at reasonable on all issues including amounts due to either party for the work already done on "Quantum merit" basis which shall be determined by mutual agreement between the parties.

- Payment Terms:

- No advance payment shall be made in this contract.

- No claim for interest shall be entertained by AEGCL

- The price is firm and no price variation shall be applicable.

- First & Final bill for the supply will be entertained only after 100% completion of the work

- Payment will be made by the  Deputy General Manager, AEGCL, CA T&C & Comm. Circle, AEGCL, Samaguri subject to availability of Fund The Bidder/Firm will have to submitted to following Net Banking details.

- Bankers’s Name & Branch

- Account No

- Banker’s Address

- Banker’s IFSC Code

- Disclaimer:

While the Company will make every endeavour to extend necessary facilitation in expediting the work, the contractor shall be responsible to organize and arrange all necessary inputs right from mobilization activities up to completion of the supply work. Company will not entertain any failure / delay on such accounts. Also, Company will not be responsible for any compensation, replenishment, damage, theft etc. as may be caused due to negligent working, insufficient coordination with Government

/ non-Government / Local Authority by the contractor and/ or his personnel deputed for work. The contractor shall take necessary insurance coverage under LIC/GIC etc. for his working personnel and the goods in store as well as in transit. The contractor will be deemed to have made him acquainted with the local working conditions at site(s) and fully provide for into the bid submitted.

- If for any reason the last date of receiving and opening of tender or the date of pre-bid discussion is a declared holiday, the next day will be considered for receiving and opening of Bid or Pre-bid discussion.

- Terms and conditions, which are not specified, herein above will be governed by the AEGCL’s General Conditions of supply and erection in force. AEGCL’s General Conditions of supply and erection (GCSE), 2009 may be seen in our official website www.aegcl.co.in

### Sd/-

Deputy General Manager, CA T&C and Comm. Circle, AEGCL, Samaguri

# TECHNICAL SPECIFICATION

## TECHNICAL SPECIFICATION FOR TRANSFORMER WINDING RESISTANCE METER KIT

| Sl. No. | Technical Specifications | System Particulars | Confirmatory (Yes/No) |
| --- | --- | --- | --- |
| 1. | Functional Requirements | 1. The instrument should be suitable for offline measurement of winding resistance of transformer including operation of OLTC and reactors etc. upto 400kV, in live switchyards upto 400kV level, as per applicable standards/ testing procedure. |  |
|  |  | 2. It should have minimum 6(Six) nos. of winding resistance measuring channels in addition to a 1 channel for external temperature input and one channel for test current measurement. |  |
|  |  | 3. the instrument should have the facility to connect all the phases of primary as well as secondary winding resistance of the transformer simultaneously without disturbing the transformer internal winding connections |  |
|  |  | 4. The test results should have repeatability, consistency & immunity to interference in live switchyard upto 400kV levels. |  |
| 2. | Test Current | 40A DC continuous current with selectable current range facility |  |
| 3. | Measurement Range | 0.1 µΩ-10 kΩ, Auto Ranging , Constant Voltage range should stay below 5 V |  |
| 4. | Resolution and Accuracy | Resolution: 0.1 µΩ in lowest resistance range (± 0.1% to ±0.5%) |  |
|  |  | Accuracy: 0.1 µΩ-1.999 kΩ : ± (0.1% rdg + 0.1% F.S) |  |
| 5. | OLTC Testing | The kit should be capable of checking the current v/s time characteristics during the tap change at 25A. It should be able to display the magnitude of current variation during tap change operation in %. The kit should present the transition time from one tap to the next tap in the test results. It should have the facility for checking the performance of OLTC during tap changing operation of three phases of the transformer simultaneously or sequentially. |  |
| 6. | Demagnetization Facility | The equipment shall have Built-in demagnetization circuitry which shall allow the operator to manually/ automatically demagnetize the transformer core. |  |
| 7. | Temperature Sensor | Kit should have facility to measure the temperature with RTD sensor. It is to be supplied with kit. |  |
| 8. | Output Voltage | Min 40V DC |  |
| 9. | Temperature Correction | The kit should have the facility to have correction of resistance value to a reference temp. i.e. provide temp. compensated reading of resistance (For Copper & Aluminium) |  |
| 10. | Test Lead/ Accessories | One complete set of cable of sufficient length (min 20 Mtr) with suitable clamps & connectors, compatible with the instruments should be provided for successfully carrying out the test in substation. Additionally all the required accessories should be provided for the smooth functioning of the kit. Further hard carrying case (which should be robust/ rugged enough) for ensuring proper safety of the kit during transportation shall have to be provided. All the standard accessories for desired monitoring, operation & control of instrument shall have to be provided. |  |

| 11. | Design/ Engineering | The complete equipment along with complete accessories must be designed/ engineered by Original Equipment Manufacturer |  |
| --- | --- | --- | --- |
| 12. | Power Supply | It shall work on input supply variations, voltage: 90V-264V AC, Frequency: 50/60 Hz |  |
| 13. | Operating Temperature | -10°C to 55°C |  |
| 14. | Relative Humidity | Max. 95% non-condensing |  |
| 15. | Protection/ Control | The instrument should have facility of automatically discharging the specimen when test is completed or when current cable is accidentally disconnected or when instrument power supply is lost. The kit should have built in rapid discharge circuit for automatically discharging the stored energy in the transformer at the end of each test. Kit should also have indication to show the status of discharging. |  |
| 16. | Weight | It should be portable and easy to carry. |  |
| 17. | Software | The software should be suitable for automatic testing & report generation including OLTC testing. The kit should have facility to conduct the test through laptop as well as I stand-alone mode. |  |
| 18. | Display/ Control | LCD display with backlight, should be visible in bright sunlight. |  |
| 19. | PC Interface | Kit should have RS232 or USB port for PC interface. Kit shall include supply of one Laptop PC of Dell/ Lenovo/ HP make with latest specifications such as Min Specs will be as 512GB SSD, 8 GB RAM, Windows11 64Bit, Core i5, USB-2 Nos., Ethernet, 14” display, Antivirus software. |  |
| 20. | Memory | Built-in non volatile memory to store minimum 500 results. |  |

N.B. Bidder to specify the offered cable specifications in the confirmatory column as YES/NO and need to submit the same in the technical bid for evaluation.

BILL OF QUANTITIES AND PRICE BIDDING SCHEDULE

# (ANNEXURE AND PROFORMA)

### Price Bid Format

(To be filled by the Bidder)

| Sl. No. | Name of Item | Unit of Material | No. of Quantities | Rate | GST | Total Rate for Door delivery at our T&C inclusive of loading, unloading, forward stacking, Freight & Insurance |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (A) | (B) | (C=A+B) |
| 1. | Transformer Winding Resistance Meter Kit | No. | 1 |  |  |  |

Signature of the bidder

With Seal, Date, address and contact no.

## ANNEXURE-I

Manufacturer’s Authorization (On Manufacturer’s Letterhead)

To,

The DGM, CA T&C and Comm. Circle, AEGCL,Samaguri

WHEREAS. We [Insert: name of Manufacturer], who are official manufacturer of [insert: name and/or description of the Goods] having production facilities at [insert: address of factory] do hereby authorize [insert: name& address of Bidder] (hereinafter, the “Bidder”) to submit a bid the purpose of which is to provide the following goods, manufactured by us, and to subsequently negotiate and sign the Contract:

- --------------------------------------------

- --------------------------------------------

We hereby extend our full guarantee and warranty with respect to the goods offered by us. We also hereby declare that we and [insert name of the Bidder] have entered into a formal relationship in which, during the duration of the Contract (including related services and warranty/defects liability) we, the Manufacturer or Producer, will make our technical and engineering staff available to the technical and engineering staff of the successful Bidder to assist that Bidder, on a reasonable and best effort basis, in the performance of all its obligations to the Purchaser under the Contract.

For and on behalf of the Manufacturer

Signed:

Name:

Title:

Duly authorized to sign this Authorization on behalf of

Dated on 	day of 	, 2026

## ANNEXURE-II

PROFORMA OF BANK GUARANTEE FOR EARNEST MONEY

(To be stamped in accordance with Stamp Act)

The non-Judicial stamp paper should be in the name of issuing bank

Bank Guarantee

(To be stamped in accordance with Stamp Act)

(The non-Judicial Stamp Paper should be in the name of issuing Bank)

Bank’s Name:

Address of Issuing Branch or Office:

Email id and phone no for correspondence:

Beneficiary: Managing Director, AEGCL Name and Address of Purchaser

Bid Security No.:

WHEREAS	[name and address of Contractor] (hereinafter called "The Contractor") has undertaken, in pursuance of LoA No. 	dated 	to execute

[name of Contract and brief description of Works]

(Hereinafter called "the Contract");

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized/scheduled bank for the sum specified therein as security for compliance with its obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of 	 [amount of Guarantee] 	 [in words], such sum being payable in the currencies in which the Contract Price is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of

[amount of Guarantee] as aforesaid without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed there under or of any of the Contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

BG expiry date:

BG clam date:

Bank’s seal and authorized signature(s)

NOTE

- All italicized text is for use in preparing this form and shall be deleted from the final document. An amount is to be inserted by the Guarantor, representing the percentage of the Contract Price specified in the Contract.

- This guarantee shall be valid up to 30 days beyond the Warranty Period as per the Contract.

- For BG amount equal to or more than 50,000.00, BG should be signed by two bank officers to be valid.

- Address of the banker with email and phone number for correspondence with banker should be clearly mentioned. Any correspondence related to the BG with the banker shall be made to the address mentioned in the BG

### Appendix-1

### Letter of Technical Bid

[Bidder’s Letter head]

Date: ____________________________

Tender No.: _______________________

Invitation for Bid No: ________________

To: ____________________________________________________________________________

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Document, including Addenda No.: ___________________________________________.

- We offer to supply in conformity with the Bidding Document and in accordance with the completion/delivery schedule specified in the bid document, the following Goods and Related Services: ________________________________ .

- Our Bid shall be valid for a period of ________ days from the date fixed for the bid submission deadline in accordance with the Bidding Document, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

(d)    If our Bid is accepted, we commit to obtain a Performance Security in the amount of _______ percent of the Contract Price for the due performance of the Contract;

(e)      We are not participating, as Bidders, in more than one Bid in this bidding process;

(f)      We understand that this Bid, together with your written acceptance thereof included in your notification of award, shall constitute a binding contract between us, until a formal Contract is prepared and executed.

(g)     Our firm, its affiliates or subsidiaries, including any Subcontractors or Suppliers for any part of the contract, has not been declared ineligible by AEGCL, APDCL or APGCL under the Employer’s country laws or official regulations

(h)    We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

Name ________________________________________________________________________

In the capacity of _______________________________________________________________

Signed _______________________________________________________________________

Duly authorized to sign the Bid for and on behalf of ____________________________________

Date _________________________________________________________________________

Price Proposal Submission Sheet

Date: ____________________________

Tender No.: _______________________

Invitation for Bid No: ________________

To: ____________________________________________________________________________

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Document, including Addenda No.: ____________________________________________________________

- We offer to supply in conformity with the Bidding Document and in accordance with the completion/delivery schedule specified Schedule of Supply & Erection, the following Goods and Related Services: ___________________________________________________

- The total price of our Bid, excluding any discounts offered in item (d) below is: _______________________________________________________________

- The discounts offered and the methodology for their application are: ____________________________________________________________

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract:

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

Name ________________________________________________________________________

In the capacity of _______________________________________________________________

Signed _______________________________________________________________________

Duly authorized to sign the Bid for and on behalf of ____________________________________

Date _________________________________________________________________________

Bidding Forms

Name of work:   ______________________________________________________

Bid Identification No : ______________________________________

General

- Name of the Firm/Contractor:

- Full Address:

- Constitution of the Firm:

(iv)          Whether Partnership or any type:

A) Experience

- No of years the Firm/Contractor has been in operation under its present name.

- Details of work executed/being executed by the tenderer in the last three years.

- Testimonials from Clients Company on various works executed for the last three years.

(Details of works executed/under execution in the last three years including another department)

| Sl. No. | Name of work & W/O No. | Worked Done Under | Value of Work | Specified date of completion | Present status/completed on |
| --- | --- | --- | --- | --- | --- |

B) Financial Position

(i) Financial Turnover during the last three years (copies of Audited Annual report, Accounts or a statement  duly certified by a chartered accountant and Income Tax return.

| Year | Turn over |
| --- | --- |

Any other details that the tenderer may like to furnish to substantiate their financial and technical ability to undertake this work and complete the same within stipulated period of completion.

Name of the Bidder: -

Signature of the Bidder/Firm …………………………………………….

Full Name ………………………………………………..…………….....

Postal Address …………………………………………………………...

Phone/Mobile No. ……………………………………………….………

ANNEXURE – I

Following information is to be furnished in the ‘Technical and Commercial bid’ as first page.

(Please tick mark where necessary.)

| 1) | Earnest money (EMD) | : Submitted/Not submitted |
| --- | --- | --- |
|  | a) Amount of EMD | : Rs. |
|  | b) Submitted in the form of Bank Guarantee /Demand Draft | : Yes/No. |
| 2) | Validity of the offer | : ……. days from the date of opening of ‘Technical & Commercial Bid’ & ‘Price bid’. |
| 3) | Nature of price offered |  |
|  | - ‘FIRM’ Price | : Yes/No |
| 4) | Terms of payment (Whether agreeable to accept payment as specified in Clause No. 25.0) | : Yes/No |
| 5) | Date of completion of supply (Please specify the date of completion of supply as per specification) | : Yes/No |
| 6) | ‘Security and performance guarantee’ (Whether agreeable to accept as specified in Clause No. 26.0) | : Yes/No |
| 7) | List of orders executed for similar works furnished | : Yes/No |
| 8) | Performance certificate from the Govt./Govt. undertaking furnished | : Yes/No |
| 9) | Deviation from the specifications |  |
|  | - Technical | : Yes/No |
|  | - Commercial | : Yes/No |
| 10) | Information in respect of technical capability is furnished | : Yes/No |
| 11) | Information in respect of Financial capability certificate from the Banker is furnished | : Yes/No |
| 13) | PAN card as per Cl. No.19.0 (ii) | : Yes/No |
| 14) | GST registration no. as per Cl. No. 19.0 (iv) | : Yes/No |
| 15) | Registered Power of Attorney as per Cl. No. 19.0 (v) enclosed. | : Yes/No |

Name of the Bidder: -

Signature of the Bidder/Firm ………………..……………………….

Full Name ……………………………………………………………

Postal Address ………………………………………………………

Phone/Mobile No. …………………………………………………

ANNEXURE – II

GUARANTEED AND OTHER TECHNICAL PARTICULARS

(To be filled in by Bidder and shall be furnished with the Technical Bid)

.

| TECHNICAL SPECIFICATION |  |
| --- | --- |
| Output Voltage |  |
| Accuracy |  |
| Resolution |  |
| Test On Indication |  |
| Voltage Rise Rate |  |
| Trip Current Setting |  |
| Compliance Standards |  |
| Tripping Current |  |
| Testing Facility |  |
| Test Cell |  |
| Test On/Off Switching |  |
| Safety |  |
| Instrument Body |  |
| Weight |  |
| Protection |  |
| Accessories |  |