Annexure-II

BoQ

Name of Work: Annual Maintenance Contract of Firefighting System at Bijulee Bhawan

NIQ No: AEGCL/MD/BBM/AMC/Fire Fighting System/2024/

| Sl no | Item Description | Quantity | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Manual Call Point | 15 | Nos |  |  |
| 2 | Hydrant Valve | 12 | Nos |  |  |
| 3 | Hooter | 14 | Nos |  |  |
| 4 | Smoke Detector | 230 | Nos |  |  |
| 5 | Hose Reel Drum | 12 | Nos |  |  |
| 6 | RRL Hose pipe | 9 | Nos |  |  |
| 7 | Branch Pipe | 7 | Nos |  |  |
| 8 | Hose Box | 11 | Nos |  |  |
| 9 | Main panel 4 zone | 6 | Nos |  |  |
| 10 | Main panel 12 zone | 1 | Nos |  |  |
| 11 | CO2 4.5 kg Fire Extinguisher | 25 | Nos |  |  |
| 12 | AFFF 6 litre Fire Extinguisher | 10 | Nos |  |  |
| 13 | AFFF 9 litre Fire Extinguisher | 11 | Nos |  |  |
| 14 | AFFF 150 litre Fire Extinguisher | 3 | Nos |  |  |
| 15 | ABC 4 kg Fire Extinguisher | 3 | Nos |  |  |
| 16 | ABC 6 kg Fire Extinguisher | 19 | Nos |  |  |
| 17 | Electric water Pump (1 No Jockey Pump, 1 No Sprinkler pump and 1 No Hydrant pump) | 3 | Nos |  |  |
| 19 | Diesel Water Pump | 1 | Nos |  |  |
| 20 | Electrical Pump Control Panel | 1 | Nos |  |  |

Total:

GST@18% :

Grand Total:

In words:

Signature & Seal