## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM(PP&D), AEGCL
Name of Work: Construction of Quarter, Boundary Wall & Installation, testing and commissioning of ODEX(Deep Well) along with all other associated works at 132kV GSS, AEGCL, Diphu.
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (including 18% GST and all charges) in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (including 18% GST and all charges) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | CIVIL WORKS | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Dismantling of residential quarter (Type-V) and stacking of servicable and disposal of unsersicable materials outside the Sub-station premises as per the direction of the engineer in charge. (Unit=4) | 101 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Construction of new residential quarter including all necessary internal sanitry fittings, external and internal electrical works as per the direction of the department. (Quarter type: V, Unit=4) | 102 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.03 | Dismantling RCC work,brick work, steel work manually/ by mechanical means including stacking of servicable material and disposal of unsersicable materials outside the Sub-station premises as per the direction of the engineer in charge. | 103 | 35.1 | Meter | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.04 | Construction of new boundary wall of 2.5 metre height from the FGL with concertina coil at the top. | 104 | 35.1 | Meter | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.05 | Raising low site around the building with approved soil obtained from outside by truck carriage including breaking clods, dressing etc. complete including paying necessary forest royelty, sales tax, land compensation, municipal gate fees, if any monopoly duty etc. (profile measurement to be taken and 12.5% deduction for shrinkage to be made from total quantity) etc. complete as directed and specified. | 105 | 270 | Cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.06 | Installation, testing and commissioning of ODEX: Providing, installation and commissioning of 150x150 mm dia DTW by odex boring including preparation of site for placing of drilling rig, air compressor, transportation of the rig and ancillary equipment. Drilling of bore well by using drilling rig having ODEX system extension of drilling pipes/ bits against skin friction at the end of each day and after completion of the operation including washing of the bore hole all complete as directed and lowering/ sinking of well assembly including welding of pipe joints. Developing of the DTW with air compressor, Make Kirloskar/ Cumins all complete as directed by the department. | 106 | 150 | Meter | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.07 | Supplying, instalation, testing, commissioning of Raw water Submersible type Pumpset: Supplyig, installation, testing and commissioning of water lubricated submersible pump set 3-phase (3HP pump STAGE 14 to 50) with bronze impeller of suitable diameter all complete. The pump set should be coupled with wet type submersible electric motor drive of adequate power suitable for operation at 230V/ 415V, 50Hz input power including supply of steel cable rope, GI column pipe, suction strainer, sluice valve, non-return valve, socket, bends, elbows etc. & GI delivery piping above ground up to sluice valve above ground level, electric cable of adequate cross section, clips electrical switch gear (starter) etc,. Electric control panel board made of MS Sheet duly painted with Anti-corrosive paints complete fitted with all electric acessories i.e. off-on switch, voltmeter, ameter, including light etc. bright annealed electrolytic bar copper conducted PVC insulated sheathed round flexible 3-core cable of the motor mamunfactured conforming to IS:694/1990 all complete as specified by the department with one year warrenty from the date of commissioning and satisfactory testing against any manufacturing defect, [if any such defect is found during the year from the date of installation and satisfactory testing, supplier will have to rectify the defect at their cost and risk & if necesary, replace the pump set.] Test certificate of the pump, motor, starter, panel board etc. from the manufacturer shall have to submitted. Raw water pump discharge of the pump Design head 43m 3HP submersible type Pumpset (1 working) | 107 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.08 | Supplying, fitting, fixing, testing and commissioning of Raw water pumping: Supplying fitting, fixing GI pipe conforming to IS 1239 (pt-1)2004 including GI specials and jointing material, cutting of pipe materials and necessary earthwork in trenching and refilling of earth and restore to its original condition including dressing, dewatering including bailing out water where necessary testings and commisioning as per the direction of the department 65mm Dia GI pipe | 108 | 40 | Meter | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.09 | Supplying and filling of Sand in the existing well and all necessary work as per the direction of the department. | 109 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information