DISCOM END PROTECTION AUDIT FORMAT

| Sl No. | PARTICULARS | YES/NO/NA | REMARKS |
| --- | --- | --- | --- |
| 1 | Attach the SLD showing the incomer feeders from the Grid Sub-Stations, the transformers present and the 11kV Outgoing feeders emanating from the concerned Distribution Sub-Stations Note: If LILO line are available in the DSS, the same are to be shown in the SLD |  |  |
| 2 | What is the curve followed for OC and EF settings of Incomer Feeder? (IDMT normal Inverse, Very Inverse Extreme Inverse etc.) |  |  |
| 3 | What is the philosophy of TMS set in the Incomer feeder, Transformer HV and LV and 11kV Outgoing feeders? |  |  |
| 4 | Any instance recorded when the CB tripped at AEGCL end for a fault in other section of distribution lines. In that case, whether the settings were reviewed at DSS end or AEGCL end |  |  |
| 5 | Are the relays numerical or Electromechanical? (In case of electromechanical relays, please mention the same of the feeders) |  |  |
| 6 | Is DR recording feature available in the relays? |  |  |
| 7 | Are auto-reclosure functional for the lines? |  |  |
| 8 | Are the transformers CBs cut as per routine operating procedure when shutdown of incoming 33kV feeder is taken? |  |  |
| 9 | How many times the Incomer feeders have tripped in the past month? How many of them were transient fault? How many of them were permanent fault? If transient fault, what remedial measures were taken to avoid such instances of tripping in the future? |  |  |
| 10 | In case of failure of one 33kV incomer feeder, are provision for other 33kV incomer feeder available to avoid long term blackouts? |  |  |