Checkpoints for SCADA and GATEWAY/RTU system

| Sl No. | Description | Remarks |
| --- | --- | --- |
| 1 | Is the Operation System used for SCADA/Gateway/RTU up to date and support from OS manufacturer is available? |  |
| 2 | Date of commissioning of the SCADA Date of commissioning of the Gateway/RTU |  |
| 3 | Is support from OEM available for SCADA and RTU? |  |
| 4 | Any major instances of SCADA/Gateway un-healthiness? |  |
| 5 | Is the license for SCADA/Gateway properly stored and available at site? |  |
| 6 | Does the license require any upgradation for future system integration requirements? |  |
| 7 | Is routine maintenance cleaning/cooling system/earthing check etc. carried out for SCADA/Gateway systems? |  |
| 8 | Any upgradation of computer system used for SCADA/Gateway required? |  |
| 9 | Is the SCADA/Gateway time synchronized with the GPS system? |  |
| 10 | Are the backup project files for SCADA/Gateway properly managed? |  |
| 11 | Secondary power source available for SCADA/Gateway? |  |