Preliminary Report

- Name of the Sub-Station/Generating Station:

- Voltage level:

- Owner:

- Date of Audit:

- Members of Auditing Team:

| Sl.No. | Name | Designation | Organization | Signature |
| --- | --- | --- | --- | --- |

- Representatives of the Sub-station/Generating Station assisting the auditing team:

| Sl.No. | Name | Designation | Contact details | Signature |
| --- | --- | --- | --- | --- |

Observations/Recommendations:

- Check list

| Parameters | Yes/NO | Remarks |
| --- | --- | --- |
| Whether redundant supply for station auxiliaries is available? |  |  |
| Whether SCADA system is present? |  |  |
| Whether Governor/AVR and associated panels for each units in healthy condition? |  |  |
| Whether two separate DC sources provided for Main I and Main II protection ? |  |  |
| Whether protection relays for generating transformers/ICTs are operational? |  |  |
| Whether protection relays for emanating lines are operational? |  |  |
| Whether time synchronisation facility is available in the Sub-station? |  |  |
| Whether existing RTUs are healthy and reporting? |  |  |
| Whether existing communication via PLCC or OPGW? If PLCC then healthiness of PLCC panels |  |  |
| In case of OPGW connectivity to the station, whether end equipments are available and functional? |  |  |
| Healthiness of Protection coupler/Coupling device? |  |  |
| Tie-breaker healthiness |  |  |
| Bus-coupler healthiness |  |  |
| Whether sufficient lighting is available in the switchyard? |  |  |
| Whether remote operation of MIV is possible? |  |  |
| Whether online/offline diagnostic tools are available for monitoring generator healthiness? |  |  |
| DC Supply- Whether two DC sources are available? |  |  |
| Earthing System in the switchyard: Whether as per IS? |  |  |
| List of diagnostic tools, testing equipments etc. and whether are present in sufficient quantity? |  |  |
| Whether firefighting provision is available in the station? |  |  |

2.Review of existing settings at substation and recommendations-

3. Recommendation of last protection checking and validation (status of work and pending issues if any)-

4. Disturbance Recorder out available for last 6 tripping’s (Y/N) and recommended action-

5. Chronic reason of tripping, if any-

6. Major non-conformity/deficiency observed -

7.Any other specific observations/recommendations: