## CT
DETAILS OF PROTECTION AUDIT
A. General Information
2.Date of First Commmissioning :
1. Name of Sub-station |  |  |  | : |  |  |  |  | 4.Whether SLD Collected or Not :
3.Type of Bus Switching Scheme |  |  |  | :
5.Audit Team |  |  |  | :
1
2
1) Instrument Transformer |  |  |  | (To be filled for each one of them)
A) Current Transformer(CT)
1.Location of CT : | [8 empty] | 2.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
3.Location of CT : | [8 empty] | 4.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
5.Location of CT : | [8 empty] | 6.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
7.Location of CT : | [8 empty] | 8.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
9.Location of CT : | [8 empty] | 10.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
11.Location of CT : | [8 empty] | 12.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
13.Location of CT : | [8 empty] | 14.Location of CT :
a.Date of CT ratio : | [8 empty] | a.Date of CT ratio :
b.Test Testing | [8 empty] | b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI |  |  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R | [6 empty] | i) | Ratio Adopted | R
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
ii) | Ratio Adopted | Y | [6 empty] | ii) | Ratio Adopted | Y
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iii) | Ratio Adopted | B | [6 empty] | iii) | Ratio Adopted | B
| Ratio Measured | [8 empty] | Ratio Measured
| Error Calculated | [8 empty] | Error Calculated
iv) | Knee Point Voltage | Vk in Volt | [6 empty] | iv) | Knee Point Voltage | Vk in Volt
15.Location of CT :
a.Date of CT ratio :
b.Test Testing
|  |  | Core I | Core II | Core III | Core IV | Core V | Core VI
i) | Ratio Adopted | R
Ratio Measured
Error Calculated
ii) | Ratio Adopted | Y
Ratio Measured
Error Calculated
iii) | Ratio Adopted | B
Ratio Measured
Error Calculated
iv) | Knee Point Voltage | Vk in Volt

## CVT
B Capacitive Voltage Transformer (CVT)
1 Location of CVT | [5 empty] | 2 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
3 Location of CVT | [5 empty] | 4 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
5 Location of CVT | [5 empty] | 6 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
7 Location of CVT | [5 empty] | 8 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
9 Location of CVT | [5 empty] | 10 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
11 Location of CVT | [5 empty] | 12 Location of CVT
a Date of Testing | [5 empty] | a Date of Testing
b CVT ratio test | [5 empty] | b CVT ratio test
|  | Phase | Core i | Core ii | Core iii |  |  | Phase | Core i | Core ii | Core iii
i | Ratio Adopted | R |  |  |  | i | Ratio Adopted | R
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
ii | Ratio Adopted | Y |  |  |  | ii | Ratio Adopted | Y
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated
iii | Ratio Adopted | B |  |  |  | iii | Ratio Adopted | B
| Ratio Measured | [5 empty] | Ratio Measured
| Error Calculated | [5 empty] | Error Calculated

## 2a busbar
2) Availability of Protection System
A) Bus bar relay
|  | 765kV | 400kV | 220kv
i) | Make and Model of Bus Bar relay
ii) | Whether stability checks done or not
iii) | Date of Testing
iv) | Remarks(if any)

## 2c ss
C) | Substation Protection and monitoring Equipments
| System | LBB (Make & Model) | Functional (Yes/No) | Date of last testing | Event logger (Make & Model) | Functional (Yes/No) | Synchronising Facility Available or Not | Synchro Check Relay (Make & Model) | setting of syncrhocheck relay
i) | 765KV system
ii) | 400kV system
iii) | 220kV system

## 2d line
d) | Transmission Line Protection
| Name of Line | Main-I Protection (Make & Model) | Functional(Yes/No) | Date of Testing | Main - II Protection (Make & Model) | Functional(Yes/No) | Date of Testing | LBB Protection (Make & Model) | Functional(Yes/No) | Date of Testing | PLCC/Protection coupler(Make & Model) | Functional(Yes/No) | DR(Make & Model) | Functional(Yes/No) | Time Synch.Unit (Make & Model) | Ok/Not Ok
i)
ii)
iii)
iv)
v)
vi)
vii)
viii)
ix)
x)
xi)
xii)
xiii)
xiv)
xv)

## 2e trans
E) | Transformer Protection
| Name of Reactor | Differential Proection (Make & Model) | REF Protection (Make & Model) | Back-Up Overcurrent Protection (Make & Model) | Over Flux Protection (Make & Model) | OTI/WTI Indication working or Not | Bucholtz /PRD | Other Protection | Date of last Testing | LA Rating HV Side | LA Rating LV side
i) | ICT-1
ii) | ICT-2
iii) | ICT-3
iv) | ICT-4

## 2f reactor
F) | Reactor Protection
| Name of Reactor | Differential Proection (Make & Model) | REF Protection (Make & Model) | Back-Up Impedance Protection (Make & Model) | OTI/WTI Indication working or Not | Bucholtz /PRD | Other Protection | Date of last Testing | LA Rating HV Side
i) | Line Reactor
ii) | Line Reactor
iii) | Bus Reactor
iv) | Bus Reactor

## 3 line
3) Line Parameter
|  | Line 1 | Line 2 | Line 3 | Line 4 | Line 5 | Line 6 | Line 7 | Line 8 | Line 9 | Line 10 | Line 11 | Line 12 | Line 13 | Line 14 | Line 15
i) | Name of Line
ii) | Line Length
iii) | Line Parameters (in Ohmd/Per KM/Per Phase Primary Value)
R1
x1
Ro
Xo
RoM
XoM

## 4 dc supply
4) DC supply
|  | 220/110 V DC-I | 220/110 V DC-II | 48V DC-I | 48V DC-II
a | Measured Voltage (to be Measured at furthest panel)
i) | Positive to Earth |  |  | NA | NA
ii) | Negative to Earth
b | No.of cells per Bank
c | Availability of Battery Charger | Yes/No | Yes/No | Yes/No | Yes/No

## 5 cb
5) Circuit Breaker
|  | Make and Model | Status of Breaker Available or Not | No.of Trip/Close Coil & Healthiness | PIR(Available or Not) | Date of Last Timing Taken | Remarks (if any)
A) | 765KV System
i) | 765kV Bay
ii) | 765kV Bay
iii) | 765kV Bay
iv) | 765kV Bay
v) | 765kV Bay
vi) | 765kV Bay
vii) | 765kV Bay
viii) | 765kV Bay
ix) | 765kV Bay
x) | 765kV Bay
xi) | 765kV Bay
xii) | 765kV Bay
xiii) | 765kV Bay
xiv) | 765kV Bay
xv) | 765kV Bay
B) | 400 kV system
i) | 400 kV Bay
ii) | 400 kV Bay
iii) | 400 kV Bay
iv) | 400 kV Bay
v) | 400 kV Bay
vi) | 400 kV Bay
vii) | 400 kV Bay
viii) | 400 kV Bay
ix) | 400 kV Bay
x) | 400 kV Bay
xi) | 400 kV Bay
xii) | 400 kV Bay
xiii) | 400 kV Bay
xiv) | 400 kV Bay
xv) | 400 kV Bay
c) | 200 kV System
i) | 200 kV Bay
ii) | 200 kV Bay
iii) | 200 kV Bay
iv) | 200 kV Bay
v) | 200 kV Bay
vi) | 200 kV Bay
vii) | 200 kV Bay
viii) | 200 kV Bay
ix) | 200 kV Bay
x) | 200 kV Bay
xi) | 200 kV Bay
xii) | 200 kV Bay
xiii) | 200 kV Bay
xiv) | 200 kV Bay
xv) | 200 kV Bay

## 6 i Aux sys
6) Availability of Auxillary System
i) | Auxiliary Supply | Source of Supply | Reliability of Supply | Average of Tripping Month
Supply-I
Supply-II

## 6) ii to 11
ii) | DG Set
| Make | :
| Rating | :
| Whether Dg Set on Auto or Manual | :
| Fuel Level | :
7) Availability of UFR relay
| Make | :
| Setting | :
8)Availability of df/dt relay
| Make | :
| Setting | :
9) Special Protection Scheme (SPS) |  |  | :
Availability (Yes/No)
Verification
10) Status of Corrective action based on Tripping Analysis
11) Any other Observation/Comments