## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM[O&M]LAR,AEGCL
Name of Work: Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL
Bid reference No: AEGCL/MD/Tech-309/O&M(LAR)/NDCP/33KV Feeder (sishugram)/Bid
Name of the Bidder/ Bidding Firm / Company :
Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL (Supply schedule) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of Equipments and accessories | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33kV, 31.5kA/3sec, 2000A, Gang operated Vaccum Circuit Breaker complete with mounting structure and accessories including Terminal connectors etc. | Item1 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.02 | 33kV, 25kA/3sec, 1250A Isolators with Earth Switch complete with all fittings and accessories including Terminal connectors. | Item2 | 1 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.03 | 33kV, 25kA, 1250A Isolators without Earth Switch complete with all fittings and accessories including Terminal connectors. | Item3 | 2 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.04 | 33kV, 400-200/1-1A, 2-Core Single Phase CT complete with all fittings and accessories including Terminal connectors (0.2S-5P20 Class, live tank type). | Item4 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.05 | CT Junction BOX | Item5 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.06 | 33kV Lightning Arrester complete with all fittings and accessories including Terminal connectors, surge counter and base insulator. | Item6 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.07 | 33kV, 8kN Post insulator with all fittings | Item7 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Mounting Structures with mounting & foundation bolts as per drawing. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | a) 33kV Motorised isolators without Earth Switch | Item9 | 2 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.02 | b) 33kV CT | Item10 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.03 | c) 33kV LA | Item11 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.04 | d) 33kV PI | Item12 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.05 | e) 33kV Motorised isolators with Earth Switch | Item13 | 1 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.06 | 33kV Feeder Control and Relay Panel (Simplex Type) with BCU, ethernet switch and all accessories suitable for SAS integration with existing SAS system of Siemens make. | Item14 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.07 | Supply of 3Ph 4 Wire Energy Meter (0.2S class, SAMAST Compliant and suitable for integration in existing Secure make system) | Item15 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Terminal connectors 33 kV side. The quantity of terminal connectors shall be as per sub-station layout & shall be supplied as per technical specification of individual equipment requirement | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | ACSR Zebra conductor | Item17 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.02 | UPG Clamp (ZEBRA to ZEBRA) | Item18 | 30 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.03 | UPG Clamp (ZEBRA to Panther) | Item19 | 30 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.04 | Isolator clamp for Twin Zebra (Spacing: 250mm) | Item20 | 54 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.05 | Double Tension Clamp with Hardware fittings for Twin Zebra Conductor (spacing-250mm) | Item21 | 12 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.06 | Spacer for Twin Zebra conductor (Spacing 250mm) | Item22 | 24 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.07 | UPG Clamp (MOOSE to ZEBRA) | Item23 | 24 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.08 | CB Clamp for MOOSE conductor | Item24 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.09 | CT Clamp for MOOSE Conductor (Stud Dia 30 mm) | Item25 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.1 | Isolator Clamp for Moose Conductor | Item26 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.11 | ACSR Panther Conductor | Item27 | 200 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.12 | 1x4, 90 KN tension Disc Insulator string complete with all hardware fittings, clamps, arching horn etc. suitable for Zebra conductor for Bus Extension and augmentation works | Item28 | 12 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Earthmat Extension and grounding of equipments | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | a) 65x12 GI flat Earthing conductor for earthmate. | Item30 | 400 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.2 | b) 50x6 MM GI flat | Item31 | 300 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.3 | c) Earth Electrode, 50mm dia, 3 m long GI perforated pipe | Item32 | 18 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.4 | d) GI steel wires (37/3.5mm) | Item33 | 40 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | PVC Armoured Control Cable (Copper) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | a) 4CX2.5 sqmm | Item35 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.02 | b) 7CX1.5 sqmm | Item36 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.03 | c) 14CX 1.5 sqmm | Item37 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | XLPE Armoured Power Cable (Copper) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | a) 2CX6 sqmm | Item39 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.02 | b) 4CX 16sqmm | Item40 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.03 | c) 3 1/2 C X 35 sqmm | Item41 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | 100W LED Lights for Switch Yard Illumination, including Fitting and fixing | Item42 | 15 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | 415V AC Distribution Board (o/g feeder 10 Nos.) OUTDOOR TYPE | Item43 | 2 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Supply of 33 KV Switchyard Structure | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | Column | Item45 | 6 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9.02 | Beam | Item46 | 2 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9.03 | HT Danger Plate | Item47 | 10 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Mandatory Spares | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | For 33kV SF6 CB | Item49 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.02 | Trip Coil for 33kV CB | Item50 | 6 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.03 | Closing coil for 33kV CB | Item51 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.04 | Spring charging motor | Item52 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.05 | 33kV, 25kA, 1250A Isolators Contacts (1 Male & 1 Female Contact =1Set) | Item53 | 12 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.06 | 33kV, 400/1-1A, 2-Core Single Phase CT |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.07 | 33kV Lightning Arrester | Item55 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.08 | Master Trip Relay | Item56 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.09 | Bay Control Unit | Item57 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.1 | O/c & E/f relay | Item58 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Cable Tray | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | a) Perforated Type 450 mm Wide | Item60 | 150 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11.02 | b) Perforated Type 300 mm Wide | Item61 | 150 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ2 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM[O&M]LAR,AEGCL
Name of Work: Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL
Bid reference No:AEGCL/MD/Tech-309/O&M(LAR)/NDCP/33KV Feeder (sishugram)/Bid
Name of the Bidder/ Bidding Firm / Company :
Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL (F&I schedule) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of Equipments and accessories | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33kV, 31.5kA/3sec, 2000A, Gang operated Vaccum Circuit Breaker complete with mounting structure and accessories including Terminal connectors etc. | Item1 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.02 | 33kV, 25kA/3sec, 1250A Isolators with Earth Switch complete with all fittings and accessories including Terminal connectors. | Item2 | 1 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.03 | 33kV, 25kA, 1250A Isolators without Earth Switch complete with all fittings and accessories including Terminal connectors. | Item3 | 2 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.04 | 33kV, 400-200/1-1A, 2-Core Single Phase CT complete with all fittings and accessories including Terminal connectors (0.2S-5P20 Class, live tank type). | Item4 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.05 | CT Junction BOX | Item5 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.06 | 33kV Lightning Arrester complete with all fittings and accessories including Terminal connectors, surge counter and base insulator. | Item6 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.07 | 33kV, 8kN Post insulator with all fittings | Item7 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Mounting Structures with mounting & foundation bolts as per drawing. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | a) 33kV Motorised isolators without Earth Switch | Item9 | 2 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.02 | b) 33kV CT | Item10 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.03 | c) 33kV LA | Item11 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.04 | d) 33kV PI | Item12 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.05 | e) 33kV Motorised isolators with Earth Switch | Item13 | 1 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.06 | 33kV Feeder Control and Relay Panel (Simplex Type) with BCU, ethernet switch and all accessories suitable for SAS integration with existing SAS system of Siemens make. | Item14 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.07 | Supply of 3Ph 4 Wire Energy Meter (0.2S class, SAMAST Compliant and suitable for integration in existing Secure make system) | Item15 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Terminal connectors 33 kV side. The quantity of terminal connectors shall be as per sub-station layout & shall be supplied as per technical specification of individual equipment requirement | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | ACSR Zebra conductor | Item17 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.02 | UPG Clamp (ZEBRA to ZEBRA) | Item18 | 30 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.03 | UPG Clamp (ZEBRA to Panther) | Item19 | 30 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.04 | Isolator clamp for Twin Zebra (Spacing: 250mm) | Item20 | 54 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.05 | Double Tension Clamp with Hardware fittings for Twin Zebra Conductor (spacing-250mm) | Item21 | 12 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.06 | Spacer for Twin Zebra conductor (Spacing 250mm) | Item22 | 24 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.07 | UPG Clamp (MOOSE to ZEBRA) | Item23 | 24 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.08 | CB Clamp for MOOSE conductor | Item24 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.09 | CT Clamp for MOOSE Conductor (Stud Dia 30 mm) | Item25 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.1 | Isolator Clamp for Moose Conductor | Item26 | 9 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.11 | ACSR Panther Conductor | Item27 | 200 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.12 | 1x4, 90 KN tension Disc Insulator string complete with all hardware fittings, clamps, arching horn etc. suitable for Zebra conductor for Bus Extension and augmentation works | Item28 | 12 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Earthmat Extension and grounding of equipments | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | a) 65x12 GI flat Earthing conductor for earthmate. | Item30 | 400 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.2 | b) 50x6 MM GI flat | Item31 | 300 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.3 | c) Earth Electrode, 50mm dia, 3 m long GI perforated pipe | Item32 | 18 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.4 | d) GI steel wires (37/3.5mm) | Item33 | 40 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | PVC Armoured Control Cable (Copper) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | a) 4CX2.5 sqmm | Item35 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.02 | b) 7CX1.5 sqmm | Item36 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.03 | c) 14CX 1.5 sqmm | Item37 | 1000 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | XLPE Armoured Power Cable (Copper) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | a) 2CX6 sqmm | Item39 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.02 | b) 4CX 16sqmm | Item40 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.03 | c) 3 1/2 C X 35 sqmm | Item41 | 500 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | 100W LED Lights for Switch Yard Illumination, including Fitting and fixing | Item42 | 15 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | 415V AC Distribution Board (o/g feeder 10 Nos.) OUTDOOR TYPE | Item43 | 2 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Supply of 33 KV Switchyard Structure | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | Column | Item45 | 6 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9.02 | Beam | Item46 | 2 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9.03 | HT Danger Plate | Item47 | 10 | Nos. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Mandatory Spares | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | For 33kV SF6 CB | Item49 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.02 | Trip Coil for 33kV CB | Item50 | 6 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.03 | Closing coil for 33kV CB | Item51 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.04 | Spring charging motor | Item52 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.05 | 33kV, 25kA, 1250A Isolators Contacts (1 Male & 1 Female Contact =1Set) | Item53 | 12 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.06 | 33kV, 400/1-1A, 2-Core Single Phase CT |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.07 | 33kV Lightning Arrester | Item55 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.08 | Master Trip Relay | Item56 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.09 | Bay Control Unit | Item57 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.1 | O/c & E/f relay | Item58 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Cable Tray | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | a) Perforated Type 450 mm Wide | Item60 | 150 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11.02 | b) Perforated Type 300 mm Wide | Item61 | 150 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ3 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM[O&M]LAR,AEGCL
Name of Work: Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL
Bid reference No: AEGCL/MD/Tech-309/O&M(LAR)/NDCP/33KV Feeder (sishugram)/Bid
Name of the Bidder/ Bidding Firm / Company :
Turnkey Construction of one no. of 33kV feeder bay for National Data Centre, Amingaon along with associated works at 132kV Sishugram GSS, AEGCL (Erection, testing and commissioning including bay extension works) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Erection of mounting structure as required, including construction of foundation and supply of all foundation materials, structure earthing and Labour etc. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33kV Vaccum Circuit Breaker | Item1 | 1 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.02 | 3kV CT | Item2 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.03 | 33kV Isolator | Item3 | 3 | Set | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.04 | 33kV LA | Item4 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
1.05 | 33kV Post Insulator | Item5 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Erection, Testing and commissioning including laying of control and power cables and equipment earthing as required | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | 33kV Vaccum Circuit Breaker | Item9 | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.02 | 33kV CT | Item10 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.03 | 33kV Isolator | Item11 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.04 | 33kV LA | Item12 | 3 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2.05 | 33kV Post Insulator | Item13 | 8 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Construction of Foundation for lattice steel column including supply of all foundation material and labour etc. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Column | Item17 | 6 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Erection of lattice steel structure along with structure earthing | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | Column | Item30 | 6 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.2 | Beam | Item31 | 3 | MT | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | Installation of earthing system | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Installation of earth electrode with test links including construction of CI covered earth pits. | Item35 | 18 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.02 | Construction of extended earth mat using GI flats (65x12 mm) and connection to risers for equipment earthing as directed. | Item36 | 1 | LS | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.03 | Erection of 50x6 mm GI flat | Item37 | 300 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | CONSTRUCTION OF CABLE TRENCH & SLAB including supply of all foundation material and labour etc. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | a) C Type (including connection to existing 132kV trench) | Item39 | 75 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.02 | b) D type | Item40 | 75 | Mtr. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | SWITCHYARD PCC AND GRAVELLING including supply of all material and labour etc. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | Providing 80mm thick PCC base in prop 1:4:8 as per drawing & specifications including supply of all materials and labour. | Item45 | 550 | sqm. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7.02 | Providing switchyard gravelling (100mm thickness) levelling etc as per directive of site engineer. | Item46 | 440 | sqm. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Installation and commissioning of the C&R panel | Item49 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | Installation in control room, including testing and commissioning of C&R panel and integration to existing SAS system of Siemens Make. | Item50 | 1 | LS | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Erection of Terminal connectors 33 kV side/Bus Extension and Augmentaion. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | Retrofitting/Fabrication/Erection of beam in existing column for restringing of 33kV Bus III (Section-2) for capacitor bank -II by shifting of the bus conductor for provision of load to National Data Centre feeder and termination of jumpers/bus conductors as per site requirement | Item60 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information