Scope of Work

Project: Turnkey Extension of Existing 245 kV GIS by Addition of 2 (Two) Nos. of 245 kV GIS Feeder Bays along with Associated Services at 400 kV Sonapur GIS Substation of AEGCL

The scope of work under this Contract shall comprise the complete design, engineering, manufacture, factory testing, supply, transportation, insurance, unloading, storage, handling, erection, testing, commissioning, and successful integration of 2 (Two) Nos. of 245 kV GIS Feeder Bays by extending the existing 245 kV Gas Insulated Switchgear (GIS) of Siemens make at the 400 kV Sonapur GIS Substation of Assam Electricity Grid Corporation Limited (AEGCL). The work shall be executed on a single-point responsibility turnkey basis and shall include all associated civil, electrical, mechanical, control, protection, communication, Substation Automation System (SAS) integration, earthing, cable works, interface works, statutory requirements, documentation, training, and all other works, materials, equipment, services, and incidental items necessary for the complete, safe, reliable, and successful commissioning and operation of the proposed GIS feeder bays, whether specifically mentioned herein or otherwise required for satisfactory completion of the Contract.

The scope shall include, but not be limited to, the following:

1. Design & Engineering

- Detailed engineering, design, preparation of General Arrangement (GA) drawings, single line diagrams (SLD), wiring diagrams, cable schedules, interlocking schemes, protection coordination, and all construction drawings.

- Design verification for compatibility with the existing 245 kV GIS installation.

- Preparation and submission of all drawings, calculations, manuals, quality assurance plans (QAP), and documents for Employer's approval.

- Preparation of as-built drawings and Operation & Maintenance (O&M) manuals.

2. Supply of Equipment & Materials

Supply of all equipment, materials and accessories required for the complete extension of the existing GIS including but not limited to:

- 245 kV GIS line bay modules comprising Circuit Breakers, Disconnectors, Earthing Switches, Current Transformers, Bus Bars, Gas Insulated Bus Duct (GIB), SF₆-to-Air Bushings and all associated GIS modules as per Technical Specification, BOQ or Price Schedule & site requirements.

- 245kV Outdoor line bay equipment comprising LA, MCT, MPT, CVT pedestal-mounted Wave Trap, Isolators, BPI, FOTE etc. and all other associated materials as per Technical Specification, BOQ or Price Schedule & site requirements.

- Local Bay Control Cubicles (LBCCs).

- Control, protection, metering, annunciation, synchronizing and supervision equipment.

- Bay marshalling kiosks (if required).

- Numerical protection relays.

- Disturbance recorder, fault locator and energy metering interfaces (where applicable).

- SAS interface equipment, Ethernet switches, GPS clock interface and communication equipment.

- Power, control, instrumentation and communication cables.

- Cable glands, lugs, ferrules, terminal blocks and accessories.

- Earthing materials including GI flats, risers, earth electrodes and equipment earth connections.

- Support structures, mounting frames, cable trays, raceways and hardware.

- SF₆ gas, gas handling equipment and all consumables.

- All miscellaneous items necessary for complete installation whether specifically mentioned or not.

3. Civil Works

- Construction of foundations for GIS equipment, outdoor equipment, control cubicles and supporting structures.

- Modification/extension of existing GIS foundation wherever required.

- Cable trenches, cable trench covers and cable entry arrangements.

- Earthing pits and extension of the existing earth mat.

- Grouting, PCC, RCC works and finishing.

- Restoration of all affected civil works to original condition.

4. Electrical & Mechanical Installation

- Unloading, handling, shifting and storage of all equipment.

- Assembly and erection of GIS modules.

- Mechanical alignment and interconnection of GIS equipment.

- Extension of the existing GIS bus.

- Installation of control and relay panels.

- Laying, dressing, termination and ferruling of all power, control, protection and communication cables.

- Earthing of all equipment, structures, cable trays and metallic parts.

- SF₆ gas filling, evacuation, leak testing and gas quality checks.

- Completion of all electrical and mechanical works necessary for successful commissioning.

5. Extension of Existing GIS

- Safe extension of the existing 245 kV GIS without affecting the integrity of the existing installation.

- Integration of the new GIS bays with the existing busbar arrangement.

- Bus extension, bus joints and matching of existing GIS equipment.

- Coordination with the existing GIS OEM wherever required.

- Shutdown planning and execution in coordination with AEGCL.

6. Protection, Control & Automation

- Integration of new feeder bays with the existing Substation Automation System (SAS) of Hitachi Make.

- Configuration of IEC 61850 communication.

- Integration with existing HMIs, Gateway, SCADA and Remote-Control Centre.

- Configuration of protection relays and interlocking logic.

- Modification of existing SAS database wherever required.

- Testing of complete protection, control and automation system.

- All the SAS integration works should be carried out in presence of authorised O.E.M representative of existing SAS of Hitachi make.

7. Testing & Commissioning

- Factory Acceptance Tests (FAT).

- Site Acceptance Tests (SAT).

- Routine, type and special tests as applicable.

- High voltage tests, insulation resistance tests and contact resistance measurements.

- SF₆ gas leakage and pressure tests.

- Functional testing of protection and control schemes.

- Interlocking checks.

- SAS and SCADA integration tests.

- Trial operation and successful energization.

- Performance demonstration under normal operating conditions.

8. Interface Works

The Contractor shall carry out all interface works required for integration with the existing substation systems including:

- Existing GIS.

- Existing Protection & Control System.

- Existing SAS.

- Existing SCADA.

- Existing communication network.

- Existing AC/DC supply systems.

- Existing station earthing system.

9. Statutory Compliance

- Compliance with CEA Regulations, CBIP guidelines, IEC/IS standards and AEGCL Technical Specifications.

- Obtaining approvals from statutory authorities wherever applicable.

10. Training & Documentation

- Training of AEGCL personnel for operation and maintenance.

- Submission of approved drawings, test reports, commissioning reports and O&M manuals.

- Submission of final as-built drawings in hard and soft copies.

11. Defect Liability & Warranty

- Rectification of defects during the Defect Liability Period.

- Warranty support for all supplied equipment.

- The Contractor shall be responsible for the safety, integrity and satisfactory performance of the existing 245 kV Siemens Make GIS during execution of the extension works. Upon successful commissioning and charging of the 2 (Two) Nos. of 245 kV GIS Feeder Bays, the Contractor shall be responsible for the reliable operation and performance of the entire extended 245 kV GIS, including the complete existing GIS bus, up to the expiry of the Defect Liability Period. Any defect, damage or malfunction attributable to the Contractor's design, engineering, workmanship, materials, installation, testing or commissioning activities shall be rectified by the Contractor at no additional cost to AEGCL.

- Supply of mandatory commissioning and maintenance spares as specified.

12. Miscellaneous

The Contractor shall provide all labour, supervision, construction equipment, tools, tackles, testing instruments, temporary facilities, consumables, transportation, insurance, permits and any other item or service necessary for the complete execution, testing, commissioning and successful operation of the project, whether specifically mentioned in this specification or otherwise required for satisfactory completion of the works.

This is a complete turnkey contract, and any equipment, material, accessory, software, interface, civil modification or service not explicitly mentioned but required for the safe, reliable and successful commissioning and operation of the two 245 kV GIS feeder bays shall be deemed to be included in the Contractor's scope without any additional cost to AEGCL.

Note: Any technical specifications, requirements, or provisions not explicitly covered under Volume-II (Technical Specifications) of this Tender Document shall be governed by the latest applicable guidelines, regulations, standards, and amendments issued by the Central Electricity Authority (CEA) and the Ministry of Power (MoP), Government of India, as applicable, from time to time.