| GTR Data |  |
| --- | --- |
| Outdoor temperature | 35° C |
| Minimum outdoor temperature | 40° C |
| Maximum Oil Temperature | 60° C |
| Maximum relative Humidity | 86% |
| Minimum relative Humidity | 65% |
| Average no of thunderstorm Days per annum | 70 |
| Average no of rainy days Per annum | 150 |
| No of months of tropical Monsoon conditions | 4 |
| Design Ambient Temperature | 50° Centigrade |
| Minimum temperature | 0° Centigrade |
| Wind Zone | Zone 5 |
| Average annual rainfall | 3200 mm |
| Wind Pressure | 793 N/m2 |
| Altitude not exceeding | 1000M |
| Seismic Data | IS:802 Part1/Sec 1-2015, ZONE-V |
| Snow Fall | Not Applicable |
| Altitude | 1000 mm |
| Coastal Area Consideration | No |

Annexure-1