## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (O&M), LAR
Name of Work: Upgradation/Replacement of existing Substation Automation System at 132KV Bilasipara GSS (receiving end) and at 132KV Kokrajhar GSS (sending end), AEGCL
Contract No: AEGCL/MD/O&M(LAR)/SAS Upgrade Bilasipara GSS/2025/BID
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply: Part-A SOFTWARE | itemH1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | SAS software for substation monitoring and control ( SAS License with 5000 tags or More shall be provided for this project) for 132KV Bilasipara GSS and 132KV Kokrajhar GSS (2 nos. for each GSS) | itemH1Code1 | 4 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | EMS software for metering for 132KV Bilasipara GSS and 132KV Kokrajhar GSS | itemH1Code2 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Gateway software for 132KV Bilasipara GSS and 132KV Kokrajhar GSS | itemH1Code3 | 4 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | DR/IED analysing Softwares for 132KV Bilasipara GSS and 132KV Kokrajhar GSS | itemH1Code4 | 2 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Supply: Hardware | itemH2 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.01 | HMI-1 (Main) Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 2*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouae, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus (Make: Advantech/Technics or Equivalent) | itemH2Code1 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | HMI-1 (Standby) Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 2*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouae, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus (Make: Advantech/Technics or Equivalent) | itemH2Code2 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Metering Workstation: Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 2*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouae, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus (Make: Advantech/Technics or Equivalent) | itemH2Code3 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.04 | DR PC: Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 2*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouae, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus(Make: Advantech/Technics or Equivalent) | itemH2Code4 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | Gateway (Main) Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 4*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouae, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus (Make: Advantech/Technics or Equivalent) OR Wall mounted redundant RTU Panel shall be provided as per specification | itemH2Code5 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Gateway (Standby): Industrial grade Computer with minimum following specifications: Based on Intel Core 15, 12th Gen CPU, 16GB DDR4 Memory, 1*1TB 2.5” SATA SGD, DVD-Drive, 4*10/ 100/1000 mbps LAN Ethernet Ports onboard, 2*Seriai, 4*USB, 1*VGA and 1*HDMI Port onboard, 1*USB Keyboard and Optical Mouse, 1*400-Watt Single Power Supply,. Window-11 Pro, 64-bit OS, MS Office 2021, Antivirus (Make: Advantech/Technics or Equivalent) OR Wall mounted redundant RTU Panel shall be provided as per specification | itemH2Code6 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.07 | 32" LED Monitor, Resolution 1920*1080 (Make: Dell/Samsung or Equivalent) | itemH2Code7 | 8 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | A4 color Laser Printer (Make: HP/Canon/Xerox or Equivalent) | itemH2Code8 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | GPS clock with antenna and 50 mtr antenna cable (Make: Masibus or Equivalent) | itemH2Code9 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 3 KVA 1:1 Phase On-line UPS, (with Isolated Transformer) with Battery & Battery Rack (Make: Digiline or Equivalent) | itemH2Code10 | 4 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | 2 Port RS485 To 1 Port Ethernet Converter, Metal Enclosure 24V DC Power input (Make: Databridge or Equivalent) | itemH2Code11 | 2 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Freight and Insurance Charges | itemH2Code12 | 2 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Services | itemH3 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.01 | Engineering and configuration of complete Substation Automation System alongwith Factory acceptance Test | itemH3Code2 | 2 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | Installing, testing, commissioning, training and handover of complete Substation Automation System including integration of existing IEDs with the offered SAS | itemH3Code3 | 2 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Spare Equipment (Part-B) | itemH4 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | Industrial Managed Ethernet Switches (with both ST Port and RJ45 Port) (Make:Ruggedcom, Hirschmann,Cisco) | itemH4Code1 | 4 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | BCU spare (compatible with existing SCADA, MAKE: Hitachi/GE/Siemens) | itemH4Code2 | 4 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | AMC (Part-C) | itemH5 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.01 | Annual Maintenance Contract for Substation Automation System at 132KV Bilasipara GSS and 132KV Kokrajhar GSS along with scope for addition of 10 nos. of new future feeder bays(whenever required) as per bid specification | itemH5Code1 | 1 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information