## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 1-Supply of Items for Bays]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
SCHEDULE 1 - SUPPLY (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 145KV, 3150A, SCR 40KA for 1sec 3-phase Gang operated SF6 Circuit Breaker complete with terminal connectors, operating mechanism and support structure etc.as applicable as per specification | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | At Nazira GSS | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | At Garmur GSS | Item 3 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | SIEMENS make Control & Relay Panel with Automation (Simplex Type) complete with BCU, ethernet switch and all accessories as required for SAS integration. | Item 4 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Nazira GSS | Item 5 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Garmur GSS | Item 6 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 145KV, outdoor type live tank 1-Phase 800-400-200/1-1-1 Line CT with all fittings and accessories including terminal connectors etc. as per specification | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | At Nazira GSS | Item 8 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | At Garmur GSS | Item 9 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | 145kV, 1250A, 3-ph gang operated Horizontal Centre Break (HCB), outdoor type, motor operated lsolators including solid core post insulators, complete with all fittings and accessories including terminal connectors etc. as per specification | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 11 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Without Earth Switch (Tandem Type) (at Nazira GSS) | Item 12 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | With Two Earth Switch (at Garmur GSS) | Item 13 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | 120kV, 10kA Metal Oxide type Lightning Arrester complete with Surge Counter & flexible cooper connecting lead with all fittings and accessories including terminal connectors etc. as per specification | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | At Nazira GSS | Item 15 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | At Garmur GSS | Item 16 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | 132kV Post Insulator with terminal connectors etc. as per specification | Item 17 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | At Nazira GSS | Item 18 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 145KV 1-Phase Capacitative Voltage Transformer for 132KV Line with all fittings and accessories including terminal connectors etc as per specfication. (It shall be compatible for CVT mounted Wave Trap as well) | Item 19 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | At Nazira GSS | Item 20 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.2 | At Garmur GSS | Item 21 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Mounting structures with mounting & foundation bolts, nuts, washers as per drawing | Item 22 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 23 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 24 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch (Tandem Type) ( Nazira GSS- 2 set ) | Item 25 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | With Two Earth Switch (at Garmur GSS) | Item 26 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Lightning Arrester ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 27 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV Post Insulator ( Nazira GSS- 4 nos., Garmur - 0 ) | Item 28 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.7 | 132kV CVT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) (Structure shall be compatible for CVT mounted Wave Trap as well) | Item 29 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply of Power Cables (including lugs, glands, etc) | Item 30 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | 4C, 4 sq. mm (Nazira - 400 m, Garmur - 768 m ) | Item 31 | 1168 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.2 | 4C, 6 sq. mm (Nazira - 400 m) | Item 32 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supply of Control Cables (including lugs, glands, etc) | Item 33
10.1 | 4C, 2.5 sq. mm (Nazira - 600 m, Garmur - 770 m ) | Item 34 | 1370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.2 | 7C, 1.5 sq. mm (Nazira - 600 m, Garmur - 96 m ) | Item 35 | 696 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.3 | 12C, 1.5 sq. mm (Nazira - 500 m, Garmur - 192 m ) | Item 36 | 692 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply of ACSR Panther Conductor (Nazira - 0.5 km, Garmur -0.5 km) | Item 37 | 1 | Km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Disc Insulator Strings complete with all hardware fittings, clamps etc. | Item 38 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.1 | 10 Disc Tension Insulator String(90KN) | Item 39 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.2 | 9 Disc Suspension Insulator String(90KN) | Item 40 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supply of Earthing System Materials | Item 41 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | 65x12 mm GI Flat (Nazira - 300 m, Garmur -300 m) | Item 42 | 600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | 50x6 mm GI flat (Nazira - 100 m, , Garmur -100 m) | Item 43 | 200 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.3 | 40 mm Dia. 3mtr long M.S. rod earth electrode (driven) with test link (Nazira - 15 m, , Garmur -15 m) | Item 44 | 30 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supply of Bay Marshalling Kiosk along with mounting structure (Nazira - 1 no., Garmur - 1 no.) | Item 45 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Clamps and Connectors | Item 46
15.1 | PG Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor (Nazira - 10 nos.) | Item 47 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.2 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor (Nazira - 30 nos.) | Item 48 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.3 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther - ACSR Zebra Conductor (for PI) (Garmur - 6 nos.) | Item 49 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Supply of ABT meter as per specification | Item 50 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | PLCC equipments | Item 51 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
17.1 | 132kV, 0.5mH, 800 Amp Line Trap with all fittings and accessories as per specification (Nazira - 2 nos., Garmur - 2 nos.) Line Trap shall be of CVT Mounted Type | Item 52 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.2 | Line Matching Unit (LMU) and Line Matching & Distribution Unit (LMDU) for phase to phase Coupling arrangement with fibre box assembly including all accessories, as per specification (Nazira - 1 set, Garmur - 1 set) | Item 53 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.3 | Digital Carrier Terminal Equipment suitable to operate on 48V DC including all accessories, as per specification (Nazira - 1 no, Garmur - 1 no.) | Item 54 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.4 | Digital Teleprotection Coupler (8 commands) including all accessories, as per specification (Nazira - 1 no, Garmur - 1 no.) | Item 55 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.5 | HF Coaxial Cable (imp 75 ohms) including all accessories, as per specification (Nazira - 200 mtr, Garmur - 170 mtr) | Item 56 | 370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Mandatory Spares | Item 57 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.1 | For 132 kV SF6 Circuit Breakers | Item 58 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.11 | Interrupter (Nazira - 1 no., Garmur - 1 no.) | Item 59 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.12 | Tripping Coil (Nazira - 2 nos., Garmur - 2 nos.) | Item 60 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.13 | Closing Coil (Nazira - 2 nos., Garmur - 2 nos.) | Item 61 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | Terminal connectors and clamps for 132kV CT (Panther) | Item 63 | 9 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.3 | Terminal connectors and clamps for 132kV isolator (Panther) | Item 64 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.4 | Terminal connectors and clamps for 132kV CVT (Panther) | Item 65 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.5 | Terminal connectors and clamps for 132kV Surge Arrester (Panther) | Item 66 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.6 | Terminal connectors and clamps for 132kV Post Insulator (Panther) | Item 67 | 9 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.7 | Terminal connectors and clamps for 132kV Wave Trap (CVT mounted) for panther conductor | Item 68 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ2 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 1A- Freight and Insurance for Bay]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
SCHEDULE 1A- Freight and Insurance (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 145KV, 3150A, SCR 40KA for 1sec 3-phase Gang operated SF6 Circuit Breaker complete with terminal connectors, operating mechanism and support structure etc.as applicable as per specification | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | At Nazira GSS | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | At Garmur GSS | Item 3 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | SIEMENS make Control & Relay Panel with Automation (Simplex Type) complete with BCU, ethernet switch and all accessories as required for SAS integration. | Item 4 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Nazira GSS | Item 5 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Garmur GSS | Item 6 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 145KV, outdoor type live tank 1-Phase 800-400-200/1-1-1 Line CT with all fittings and accessories including terminal connectors etc. as per specification | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | At Nazira GSS | Item 8 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | At Garmur GSS | Item 9 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | 145kV, 1250A, 3-ph gang operated Horizontal Centre Break (HCB), outdoor type, motor operated lsolators including solid core post insulators, complete with all fittings and accessories including terminal connectors etc. as per specification | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 11 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Without Earth Switch (Tandem Type) (at Nazira GSS) | Item 12 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | With Two Earth Switch (at Garmur GSS) | Item 13 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | 120kV, 10kA Metal Oxide type Lightning Arrester complete with Surge Counter & flexible cooper connecting lead with all fittings and accessories including terminal connectors etc. as per specification | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | At Nazira GSS | Item 15 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | At Garmur GSS | Item 16 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | 132kV Post Insulator with terminal connectors etc. as per specification | Item 17 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | At Nazira GSS | Item 18 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 145KV 1-Phase Capacitative Voltage Transformer for 132KV Line with all fittings and accessories including terminal connectors etc as per specfication. (It shall be compatible for CVT mounted Wave Trap as well) | Item 19 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | At Nazira GSS | Item 20 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.2 | At Garmur GSS | Item 21 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Mounting structures with mounting & foundation bolts, nuts, washers as per drawing | Item 22 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 23 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 24 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch (Tandem Type) ( Nazira GSS- 2 set ) | Item 25 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | With Two Earth Switch (at Garmur GSS) | Item 26 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Lightning Arrester ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 27 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV Post Insulator ( Nazira GSS- 4 nos., Garmur - 0 ) | Item 28 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.7 | 132kV CVT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) (Structure shall be compatible for CVT mounted Wave Trap as well) | Item 29 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply of Power Cables (including lugs, glands, etc) | Item 30 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | 4C, 4 sq. mm (Nazira - 400 m, Garmur - 768 m ) | Item 31 | 1168 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.2 | 4C, 6 sq. mm (Nazira - 400 m) | Item 32 | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supply of Control Cables (including lugs, glands, etc) | Item 33
10.1 | 4C, 2.5 sq. mm (Nazira - 600 m, Garmur - 770 m ) | Item 34 | 1370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.2 | 7C, 1.5 sq. mm (Nazira - 600 m, Garmur - 96 m ) | Item 35 | 696 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.3 | 12C, 1.5 sq. mm (Nazira - 500 m, Garmur - 192 m ) | Item 36 | 692 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply of ACSR Panther Conductor (Nazira - 0.5 km, Garmur -0.5 km) | Item 37 | 1 | Km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Disc Insulator Strings complete with all hardware fittings, clamps etc. | Item 38 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.1 | 10 Disc Tension Insulator String(90KN) | Item 39 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.2 | 9 Disc Suspension Insulator String(90KN) | Item 40 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supply of Earthing System Materials | Item 41 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | 65x12 mm GI Flat (Nazira - 300 m, Garmur -300 m) | Item 42 | 600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | 50x6 mm GI flat (Nazira - 100 m, , Garmur -100 m) | Item 43 | 200 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.3 | 40 mm Dia. 3mtr long M.S. rod earth electrode (driven) with test link (Nazira - 15 m, , Garmur -15 m) | Item 44 | 30 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supply of Bay Marshalling Kiosk along with mounting structure (Nazira - 1 no., Garmur - 1 no.) | Item 45 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Clamps and Connectors | Item 46
15.1 | PG Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor (Nazira - 10 nos.) | Item 47 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.2 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther Conductor (Nazira - 30 nos.) | Item 48 | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.3 | T Clamp With Connectors and all hardware fittings sutiable for ACSR Panther - ACSR Zebra Conductor (for PI) (Garmur - 6 nos.) | Item 49 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Supply of ABT meter as per specification | Item 50 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | PLCC equipments | Item 51 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
17.1 | 132kV, 0.5mH, 800 Amp Line Trap with all fittings and accessories as per specification (Nazira - 2 nos., Garmur - 2 nos.) Line Trap shall be of CVT Mounted Type | Item 52 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.2 | Line Matching Unit (LMU) and Line Matching & Distribution Unit (LMDU) for phase to phase Coupling arrangement with fibre box assembly including all accessories, as per specification (Nazira - 1 set, Garmur - 1 set) | Item 53 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.3 | Digital Carrier Terminal Equipment suitable to operate on 48V DC including all accessories, as per specification (Nazira - 1 no, Garmur - 1 no.) | Item 54 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.4 | Digital Teleprotection Coupler (8 commands) including all accessories, as per specification (Nazira - 1 no, Garmur - 1 no.) | Item 55 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.5 | HF Coaxial Cable (imp 75 ohms) including all accessories, as per specification (Nazira - 200 mtr, Garmur - 170 mtr) | Item 56 | 370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Mandatory Spares | Item 57 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.1 | For 132 kV SF6 Circuit Breakers | Item 58 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.11 | Interrupter (Nazira - 1 no., Garmur - 1 no.) | Item 59 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.12 | Tripping Coil (Nazira - 2 nos., Garmur - 2 nos.) | Item 60 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.13 | Closing Coil (Nazira - 2 nos., Garmur - 2 nos.) | Item 61 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | Terminal connectors and clamps for 132kV CT (Panther) | Item 63 | 9 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.3 | Terminal connectors and clamps for 132kV isolator (Panther) | Item 64 | 24 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.4 | Terminal connectors and clamps for 132kV CVT (Panther) | Item 65 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.5 | Terminal connectors and clamps for 132kV Surge Arrester (Panther) | Item 66 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.6 | Terminal connectors and clamps for 132kV Post Insulator (Panther) | Item 67 | 9 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.7 | Terminal connectors and clamps for 132kV Wave Trap (CVT mounted) for panther conductor | Item 68 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | Zero Only

## BoQ3 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 2 - Foundation, Erection, Testing and Commissioning ]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
Schedule 2 - Foundation, Erection, Testing and Commissioning (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL Amount (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Erection, testing & commissioning of 145kV Circuit Breakers including laying & terminating of LT power and control cables as required, including supply of all foundation materials and construction of foundations and erection of structures for complete commissioning | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | At Nazira GSS | Item 2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | At Garmur GSS | Item 3 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Erection, testing & commissioning of Control & Relay Panels including laying & terminating of LT power and control cables as required for complete commissioning | Item 4 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Nazira GSS | Item 5 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | For 132 kV Feeder Capable of integration into Existing SAS (Siemens make) at Garmur GSS | Item 6 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Erection, testing & commissioning of 145KV Current Transformers with all fittings and accessories including laying & terminating of control cables as required for complete commissioning | Item 7 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | At Nazira GSS | Item 8 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | At Garmur GSS | Item 9 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Erection, testing & commissioning of 145kV, 1250A, 3-ph gang operated Horizntal Centre Break (HCB) motorized Isolators including laying & terminating of LT power and control cables as required for complete commissioning | Item 10 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 11 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Without Earth Switch (Tandem Type) (at Nazira GSS) | Item 12 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | With Two Earth Switch (at Garmur GSS) | Item 13 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Erection, testing & commissioning of 120kV, 10kA Metal Oxide type Lightning Arrester including including laying & terminating of control cables as required for complete commissioning | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | At Nazira GSS | Item 15 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | At Garmur GSS | Item 16 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Erection, testing & commissioning of 132kV Post Insulator including including laying & terminating of control cables as required for complete commissioning | Item 17 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | At Nazira GSS | Item 18 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Erection, testing & commissioning of 145KV 1-Phase Capacitative Voltage Transformer including including laying & terminating of control cables as required for complete commissioning | Item 19 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | At Nazira GSS | Item 20 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.2 | At Garmur GSS | Item 21 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Erection of mounting structures including construction of foundations and supply of all foundation materials for different terminal equipments as required (reference drawings enclosed) | Item 22 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 132 kV Line CT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 23 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | 132kV Isolator With Single Earth Switch (at Nazira GSS - 1 set, at Garmur GSS - 2 set ) | Item 24 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.3 | 132kV Isolator Without Earth Switch (Tandem Type) ( Nazira GSS- 2 set ) | Item 25 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | With Two Earth Switch (at Garmur GSS) | Item 26 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 132kV Lightning Arrester ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) | Item 27 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.6 | 132kV Post Insulator ( Nazira GSS- 4 nos., Garmur - 0 ) | Item 28 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.7 | 132kV CVT ( Nazira GSS- 3 nos., Garmur GSS - 3 nos.) (Structure shall be compatible for CVT mounted Wave Trap as well) | Item 29 | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Integration of Control Relay Panel into the existing Substation Automation System (SAS) of SIEMENS made at Nazira GSS and Garmur GSS, * SAS integration shall be done in presence of repesentative of OEM for complete commissioning including transmission of data to SLDC | Item 30 | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Hoisting of Insulator strings, Stringing of Conductors, jumpering of equipments (CB, CVT, CT, ISOLATOR, LA), GI shield wire etc including supply of GI stranded shield wire, connectors etc. as required for whole scope of works for complete commissioning at both Nazira and Garmur GSS | Item 31 | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Installation of earthing system with GI flats, electrodes etc. for area in scope for complete commissioning at both Nazira and Garmur GSS | Item 32 | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Construction of Cable Trenches including supply of all materials including cable tray, etc. and labour as per specification and drawing | Item 33 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.1 | C Type Trench (Nazira GSS) | Item 34 | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.2 | D Type Trench ( Nazira GSS - 40 m , Garmur GSS - 15 m) | Item 35 | 55 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Erection, testing and Commissioning of PLCC Equipments | Item 36 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | Erection, testing and commissioning of 132kV, 0.5mH, 800 Amp Line Trap (CVT mounted type) with all fittings and accessories as per specification, inclusive of all cost of retrofitting if any and including supply of all materials to complete the job for the substations mentioned alongside. (Nazira GSS - 2 nos., Garmur GSS - 2 nos.) | Item 37 | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | Erection, testing and commissioning of LINE MATCHING UNIT (LMU) and (Line Matching and Distribution Unit (LMDU) for phase to phase Coupling arrangement with fire box assembly with all fittings and accessories as per specification, inclusive of all cost of retrofitting if any and including supply of all materials to complete the job for the substations mentioned alongside. (Nazira GSS - 1 set., Garmur GSS - 1 set) | Item 38 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.3 | Erection, testing and commissioning of Digital Carrier Terminal Equipment suitable to operate on 48V DC with all fittings and accessories as per specification, inclusive of all cost of retrofitting if any and including supply of all materials to complete the job for the substations mentioned alongside. (Nazira GSS - 1 No., Garmur GSS - 1 No.) | Item 39 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.4 | Erection, testing and commissioning of Digital Teleprotection Coupler (8 nos.) as per specification, inclusive of all cost of retrofitting if any and including supply of all materials to complete the job for the substations mentioned alongside. (Nazira GSS - 1 No., Garmur GSS - 1 No.) | Item 40 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Erection of Bay Marshalling Kiosk as per drawings and specifications including construction of foundation inclusive of supply of all foundation Materials and Labour as directed. | Item 41 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Erection, testing and Commissssioning of ABT Meter as per specification | Item 42 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Providing 80 mm thick 1:4:8 PCC base with 100mm thick gravelling of switchyard as per specification & drawings including supply of all materials (Nazira - 600 sqm, Garmur - 600 sqm) | Item 43 | 1200 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | Zero Only

## BoQ4 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 3 (Supply of items for transmission line)]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
Schedule 3(Supply of items for transmission line) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Power Conductor and accessories | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | AAAC Panther Conductor | Item 2 | 249.3963 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | Stock Bridge type Vibration damper | Item 3 | 1407 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.3 | Preformed Armoured Rod | Item 4 | 432 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.4 | Mid Span Compression Joint | Item 5 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.5 | Repair Sleeve | Item 6 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.6 | Supply of phase plate | Item 7 | 120 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Disc Insulator including accessories | Item 8 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | 70 kN, 9 Disc Single Suspension Insulator String with complete hardware fittings including single suspension clamps for AAAC Panther conductor equivalent | Item 9 | 423 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | 140 kN, Double suspension Insulator string comprising of 2 strings of 70 KN Disc Insulator (9 Discs per string) with complete hardware fittings including double suspension clamps for AAAC Panther conductor equivalent | Item 10 | 12 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.3 | 90 kN, 10 Disc Single Tension Insulator String with complete hardware fittings including single tension clamps for AAAC Panther equivalent | Item 11 | 498 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 180 kN, Double Tension Insulator String comprising of 2 strings of 90 KN Disc Insulator (10 Discs per string) with complete hardware fitting including double tension clamps for AAAC Panther conductor equivalent | Item 12 | 72 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | Other clamps, connectors etc. as per site requirement | Item 13 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Tower Accessories | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | Supply of danger plate | Item 15 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | Supply of phase plate | Item 16 | 115 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.3 | Supply of number plate | Item 17 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.4 | Supply of anti-climbing device | Item 18 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Ground wire accessories | Item 19 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 7/3.15 mm, GI Ground wire | Item 20 | 0.2 | km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Strain clamp for above ground wire | Item 21 | 10 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | Copper Earth Bond | Item 22 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ5 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 3(a)-Freight and Insurance for transmission line items]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
Schedule 3(a)-Freight and Insurance for transmission line items (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Power Conductor and accessories | Item 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | AAAC Panther Conductor | Item 2 | 249.3963 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | Stock Bridge type Vibration damper | Item 3 | 1407 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.3 | Preformed Armoured Rod | Item 4 | 432 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.4 | Mid Span Compression Joint | Item 5 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.5 | Repair Sleeve | Item 6 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.6 | Supply of phase plate | Item 7 | 120 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Disc Insulator including accessories | Item 8 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 70 kN, 9 Disc Single Suspension Insulator String with complete hardware fittings including single suspension clamps for AAAC Panther conductor equivalent | Item 9 | 423 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | 140 kN, Double suspension Insulator string comprising of 2 strings of 70 KN Disc Insulator (9 Discs per string) with complete hardware fittings including double suspension clamps for AAAC Panther conductor equivalent | Item 10 | 12 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.3 | 90 kN, 10 Disc Single Tension Insulator String with complete hardware fittings including single tension clamps for AAAC Panther equivalent | Item 11 | 498 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 180 kN, Double Tension Insulator String comprising of 2 strings of 90 KN Disc Insulator (10 Discs per string) with complete hardware fitting including double tension clamps for AAAC Panther conductor equivalent | Item 12 | 72 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | Other clamps, connectors etc. as per site requirement | Item 13 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Tower Accessories | Item 14 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.1 | Supply of danger plate | Item 15 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | Supply of phase plate | Item 16 | 115 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.3 | Supply of number plate | Item 17 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.4 | Supply of anti-climbing device | Item 18 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Ground wire accessories | Item 19 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 7/3.15 mm, GI Ground wire | Item 20 | 0.2 | km |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | Strain clamp for above ground wire | Item 21 | 10 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | Copper Earth Bond | Item 22 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## BoQ6 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM (PPandD), AEGCL
Name of Work: Second circuit stringing of Nazira-Garmur line along with construction of two nos. of 132 kV Line Bays at 132 kV Nazira GSS and 132kV Garmur GSS(Turnkey) [ Schedule 3(b): ERECTION, TESTING AND COMMISSIONING (Transmission Line)]
Contract No: Nil
Name of the Bidder/ Bidding Firm / Company :
Schedule 3(b): ERECTION, TESTING AND COMMISSIONING (Transmission Line) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE (exclusive of taxes) In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight and Insurance Charges ( incl Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Without Taxes) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Survey | Item 1 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Stringing of power conductors including transportation from stores and distribution of conductors and accessories to sites and laying, stringing, tensioning, clamping, jointing, jumpering and hoisting of insulators complete including cost of all fittings and accessories not specifically mentioned elsewhere per route Km(3 conductors) of line | Item 2 | 228.329 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Danger Plates (1 No. per tower) | Item 3 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Erection of phase plates | Item 4 | 235 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Erection of Number plates (1 No. per tower) | Item 5 | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Erection of anti-climbing device (1 set per tower) | Item 6 | 115 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Stringing of ground wire including transportation and distribution of ground wire and accessories to site and laying, stringing, tensioning, clamping, jointing complete including cost of all fittings and accessories not specifically mentioned elsewhere per route km of line | Item 7 | 0.2 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | #REF! | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information